## MeasureTable
Regional Costs and Bulk Power System Benefits | [22 empty] | Other Power System Benefits |  |  | Non-Electric Power Costs/Benefits |  |  |  | Total Regional Costs/Benefits (monetizable costs and benefits)
Technology, Measure or Practice | Delivery Mechanism or Program | Application | Location | Incremental Capital Cost ($/unit) | Incremental O&M Costs and Schedule ($/unit) | Present Value of Periodic Capital Replacement Cost ($/unit) | Measure Life (years) | Basis of Savings | Annual Savings @ Site (kwh/yr) | Annual Savings @ Busbar (kwh/yr) | Bulk Transmission System Coincident Factor | System Coincident Peak Reduction (KW) | Present Value Incremental Capital Cost ($/kWh) | Present Value O & M Cost ($/kWh) | Present Value of Periodic Capital Replacement Cost ($/kWh) | Total Present Value Cost ($/kWh) | Present Value Electric Energy Savings ($/kWh) | Present Value of Bulk Transmission System Benefits ($/kWh) | Present Value of Region Act's 10% Conservation Credit ($/kWh) | Total Present Value Regional Bulk Power System Benefits ($/kWh) | Net Present Value ($/kWh) | Benefit / Cost Ratio | Local Distribution System Load Factor | Local Distribution System Peak Load Reduction (kW) | Present Value of Local Transmission & Distribution System Benefits ($/kWh) | End-user Benefits | Societal Benefits | Present Value Non-Electric System Benefits ($/kWh) | Present Value Environmental Externalities Benefit ($/kWh) | Present Value Regional Costs ($/kWh) | Present Value Total Societal Benefits ($/kWh) | Net Present Value of Regional Costs & Benefits ($/kWh) | Benefit / Cost Ratio | Related Programs/Activities | Comments | Levelized Cost
Multifamily Weatherization - Heating Zone 3 | Insulation must be installed in substantial compliance with WeatherWise Specifications | Multifamily dwelling unit in buildings with more than 4 units w/Electric Heat | Heating Zone 3 | 592.76 | 0 | 0 | 45 | Deemed | 1588.653 | 1709.7878 | 0.401 | 0.3727 | 0.34669 | 0 | 0 | 0.34669 | 0.42093 | 0.012062 | 0.062388 | 0.49538 | 0.14869 | 1.4289 | 0.21 | 0.92943 | 0.20052 | Increased comfort, reduced noise | Reduced environmental impacts from electricity generation | 0 | 0 | 0.34669 | 0.69536 | 0.34867 | 2.0057 | The Northwest Energy Efficiency Alliance has sponsored a market transformation program to increase the use of Energy Star windows (Class 35 & below). In some areas of the region the use of class 35 windows (required to meet the Long Term SGC specifications and both the site built and manufactured home weatherization program specifications exceeds 50%. | Savings assume that program is operated in accordance with existing Bonneville Power Administration Weatherization program (Weatherwise) specifications, including home qualification and quality assurance process. | 18.7964
Multifamily Weatherization - Heating Zone 2 | Insulation must be installed in substantial compliance with WeatherWise Specifications | Multifamily dwelling unit in buildings with more than 4 units w/Electric Heat | Heating Zone 2 | 592.76 | 0 | 0 | 45 | Deemed | 1350.9996 | 1454.0133 | 0.401 | 0.31695 | 0.40767 | 0 | 0 | 0.40767 | 0.42093 | 0.012062 | 0.062388 | 0.49538 | 0.087709 | 1.2151 | 0.21 | 0.7904 | 0.20052 | Increased comfort, reduced noise | Reduced environmental impacts from electricity generation | 0 | 0 | 0.40767 | 0.69536 | 0.28769 | 1.7057 | The Northwest Energy Efficiency Alliance has sponsored a market transformation program to increase the use of Energy Star windows (Class 35 & below). In some areas of the region the use of class 35 windows (required to meet the Long Term SGC specifications and both the site built and manufactured home weatherization program specifications exceeds 50%. | Savings assume that program is operated in accordance with existing Bonneville Power Administration Weatherization program (Weatherwise) specifications, including home qualification and quality assurance process. | 22.1029
Multifamily Weatherization - PNW Average Climate | Insulation must be installed in substantial compliance with WeatherWise Specifications | Multifamily dwelling unit in buildings with more than 4 units w/Electric Heat | PNW Average Climate | 592.76 | 0 | 0 | 45 | Deemed | 1115.7622 | 1200.8391 | 0.401 | 0.26176 | 0.49362 | 0 | 0 | 0.49362 | 0.42093 | 0.012062 | 0.062388 | 0.49538 | 0.001759 | 1.0036 | 0.21 | 0.65277 | 0.20052 | Increased comfort, reduced noise | Reduced environmental impacts from electricity generation | 0 | 0 | 0.49362 | 0.69536 | 0.20174 | 1.4087 | The Northwest Energy Efficiency Alliance has sponsored a market transformation program to increase the use of Energy Star windows (Class 35 & below). In some areas of the region the use of class 35 windows (required to meet the Long Term SGC specifications and both the site built and manufactured home weatherization program specifications exceeds 50%. | Savings assume that program is operated in accordance with existing Bonneville Power Administration Weatherization program (Weatherwise) specifications, including home qualification and quality assurance process. | 26.7628
Multifamily Weatherization - Heating Zone 1 | Insulation must be installed in substantial compliance with WeatherWise Specifications | Multifamily dwelling unit in buildings with more than 4 units w/Electric Heat | Heating Zone 1 | 592.76 | 0 | 0 | 45 | Deemed | 1018.5029 | 1096.1637 | 0.401 | 0.23894 | 0.54076 | 0 | 0 | 0.54076 | 0.42093 | 0.012062 | 0.062388 | 0.49538 | -0.045378 | 0.91608 | 0.21 | 0.59587 | 0.20052 | Increased comfort, reduced noise | Reduced environmental impacts from electricity generation | 0 | 0 | 0.54076 | 0.69536 | 0.1546 | 1.2859 | The Northwest Energy Efficiency Alliance has sponsored a market transformation program to increase the use of Energy Star windows (Class 35 & below). In some areas of the region the use of class 35 windows (required to meet the Long Term SGC specifications and both the site built and manufactured home weatherization program specifications exceeds 50%. | Savings assume that program is operated in accordance with existing Bonneville Power Administration Weatherization program (Weatherwise) specifications, including home qualification and quality assurance process. | 29.3185
Note on X3: Tom Eckman: This is the ratio of the average energy use per hour to the peak energy use per hour of individual or groups of end uses of electricity. End uses that have low load factors (e.g. air conditioning) require larger capital investments in distribution systems per unit of energy sold, because these end uses only operate during short periods of the year compared to end uses that have high load factors (e.g., refrigerators) which operating all year long.
Note on Y3: Tom Eckman: Reduction in local distribution system peak load resulting from installation of technology, measure or practice
Note on Z3: Tom Eckman: Present value cost of deferred capital expenditures for local distribution system
Note on AA3: Tom Eckman: Qualitative or quantitative estimate of end-user benefits, excluding electricity savings, e.g. gallons of water saved.
Note on AB3: Tom Eckman: Qualitative or quantitative estimate of any non-electric power system benefits associated with the technology, measure or practice, e.g. reduced wastewater treatment costs.
Note on AD3: Tom Eckman: Present value of cost of carbon emissions, based on $15/ton.
Note on AE3: Tom Eckman: Total present value of all cost associated with the installation and maintenance of the technology, measure or practice over its expected life.
Note on AG3: Tom Eckman: Present value of all benefits associated with a technology, measure or practice, including non-power system benefits and environmental externalities benefits.
Note on AH3: Tom Eckman: Ratio of present value of total societal benefits to total societal costs of technology, measure or practice.
Note on AI3: Tom Eckman: Description of program and or activities that are associated with the technology, measure or practice, such as tax credits, Northwest Energy Efficiency Alliance market transformation programs.
Note on AJ3: Tom Eckman: Special notes regarding factors that might impact a particular technology, measure or practices cost, savings or use. For example, potential changes in federal standards or local codes or anticipated improvements in technology.
Note on AC3: Tom Eckman: Present value of any monetized non-electric power system benefits, e.g. reduced detergent costs.
Note on A3: Tom Eckman: Description of conservation or renewable resource technology, measure or practice.
Note on B3: Tom Eckman: Description of program through which technology, measure or practice will be delivered, including reference to relevant quality assurance specifications
Note on C3: Tom Eckman: Sector, sub-sector and end-use affected (e.g. single family homes with electric heat
Note on D3: Tom Eckman: Climate zone or geographic area in the PNW
Note on E3: Tom Eckman: Total capital cost of technology, measure or practice. For conservation this cost is usually the incremental cost of the technology, measure or practice over the less efficient alternative.
Note on F3: Tom Eckman: Additional cost over the normal cost of operation and maintenance.
Note on G3: Tom Eckman: Present value of the incremental cost of periodic capital replacements needed to maintain technology, measure or practice, e.g. heat pump compressor replacements.
Note on H3: Tom Eckman: Expected service life of the technology, measure or practice
Note on I3: Tom Eckman: If savings are deemed, they can be claimed without further analysis or data. If savings are not deemed they must be estimated using either one of the RTF's "deemed" calculation methods and/or evaluation protocols.
Note on J3: Tom Eckman: Does not include transmission and distribution system line losses.
Note on K3: Tom Eckman: Includes transmission and distribution system line losses.
Note on L3: Tom Eckman: This is the ratio of the peak demand of individual or groups of end uses of electricity at the regional bulk power transmission system's time of peak demand to the end uses non-coincident peak demand. The Northwest's bulk power transmission system's peak usage occurs during the winter. Conservation measures and renewable resources that reduce demand on the bulk power transmission system during its time of maximum demand (e.g. space heating conservation savings) are more value than those that those that reduce demand during the summer (e.g. air conditioning conservation savings).
Note on M3: Tom Eckman: Bulk transmission peak KW reduction associated with technology, measure or practice
Note on N3: Tom Eckman: Present value of incremental cost when financed and amortized based on assumptions on ProData Tab
Note on O3: Tom Eckman: Present value of annual O&M when discounted at rate assumed on ProData Tab over Program Life. Includes PV of Periodic O&M.
Note on Q3: Tom Eckman: Sum of PV Incremental cost and incremental O&M cost.
Note on R3: Tom Eckman: Present value of avoided wholesale electricity supplies over the expected life of the technology, measure or practice.
Note on S3: Tom Eckman: Benefit assumes an avoided cost of $3.00 kW year for regional bulk transmission system captial cost deferral due to reduced peak kW demand.
Note on U3: Tom Eckman: Sum of the present value of all bulk power system benefits, plus Power Act's Conservation Credit, if appliable.
Note on V3: Tom Eckman: Present value of all bulk power system benefits minus present value of all costs associated with technology, measure or practice.
Note on W3: Tom Eckman: Ratio of all present value bulk power system benefits to the present value of all costs associated with technology, measure or practice. Ratio's less than one indicate that the technology, measure or practice is not cost-effective from the bulk power system's perspective.

## ProData
Program Parameters |  | Sponsor Parameters
Program Life (yrs) | 45 |  |  | Spon 1 | Spon 2 | Spon 3 | Cust
Program Start Date | 2001 | Real AT Cost of Cap |  | 7% | 5% | 4.75% | 5%
Present Value Time Zero | 2000 | Financial Life (yrs) |  | 10 | 10 | 15 | 1
Cost Reference Yr | 2000 | Weight |  | 0% | 0% | 100%
Real Discount Rate | 4.75%
Inflation Rate (Currently NA) | 0% | Run Tabs: |  | TRUE
Capital Real Escalation Rt | 0% | MeasureTable | FALSE
Sponsor Share of First Cost | 100% | MFResWX | TRUE
Sponsor Share of Replace Cost | 0% | 10920 SF | TRUE
Sponsor Share of O&M | 0% | 12492 SF | TRUE
Last Sponsor O&M Yr | 45 | UA Optimizer | FALSE
Bulk Power T&D Loss Factor | 2.5% | Cost-Effectiveness Level | FALSE
Bulk Power T&D Credit ($/kw-yr) | 3 | LookupTable | FALSE
Local Power T&D Loss Factor | 5% |  | FALSE
Local Power T&D Credit ($/kw-yr) | 20 |  | FALSE
Externalities Credit (m/kwh) | 0 |  | FALSE
Regional Act C/E Credit (%) | 10%
Admin Cost (% of First Cost) | 20%
Cost Coeff of Variation | 25%
Marg Cost / Save Shape File | R:\TE\New Plan\Residential Resource Assessment\MC_AND_LOADSHAPE.XLS
Electric Marginal Cost Tab | 5th Plan Draft 092802
Savings Shape Tab | Conservation Load Shapes
Note on B7: Currently not used, Hardwired in code to zero until chance to fully implement.

## MFResWX
Data Set Name
Regional Average Multifamily Unit
Input Data | [7 empty] | Periodic O&M
Category Name | Measure Name | Savings (kwh/yr) | Phys Life (yrs) | Capital Cost ($) | Annual O&M ($) | Shape Pointer | Non-E Val ($/yr) | Cost 1 ($) | Period 1 | Cost 2 ($) | Period 2 | Cost 3 ($) | Period 3
Multifamily Weatherization - Heating Zone 1 | Multifamily Weatherization - Heating Zone 1 | 1018.5029 | 45 | 592.7579 | 0 | ResSHWX
Multifamily Weatherization - Heating Zone 2 | Multifamily Weatherization - Heating Zone 2 | 1350.9996 | 45 | 592.7579 | 0 | ResSHWX
Multifamily Weatherization - Heating Zone 3 | Multifamily Weatherization - Heating Zone 3 | 1588.653 | 45 | 592.7579 | 0 | ResSHWX
Multifamily Weatherization - PNW Average Climate | Multifamily Weatherization - PNW Average Climate | 1115.7622 | 45 | 592.7579 | 0 | ResSHWX
ProCost Results, Version 1.70a: JPH 03/07/01, 08:12 PM 1/13/2003
Measure Results (2000 $) |  | Measure Input Data | [7 empty] | Savings |  |  | PV Capital |  |  |  | PV O&M |  | Total PV Costs |  |  |  |  | Levelized Cost (mills/kwh) |  |  |  |  | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
Category | Measure | Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | PV Per. Repl. Cost ($/unit) | Load Shape | Div. Load Factor | Bulk Pwr Coin. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | Spon 1 | Spon 2 | Spon 3 | Cust | Utility | Cust | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
Multifamily Weatherization - Heating Zone 1 | Multifamily Weatherization - Heating Zone 1 | 45 | 1018.5029 | 592.76 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 1096.1637 | 0.23894 | 0.59587 |  |  | 592.758 | 0 | 0 | 0 | 0 | 0 | 592.758 | 0 | 592.758 | 0 | 0 | 29.3185 | 0 | 29.3185 | 461.408 | 13.2214 | 68.387 | 542.4168 | 592.758 | 0.91507 | 219.8075 | 0 | 0 | 762.2243 | 592.758 | 1.2859
Multifamily Weatherization - Heating Zone 2 | Multifamily Weatherization - Heating Zone 2 | 45 | 1350.9996 | 592.76 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 1454.0133 | 0.31695 | 0.7904 |  |  | 592.758 | 0 | 0 | 0 | 0 | 0 | 592.758 | 0 | 592.758 | 0 | 0 | 22.1029 | 0 | 22.1029 | 612.0375 | 17.5376 | 90.7124 | 719.4922 | 592.758 | 1.2138 | 291.5651 | 0 | 0 | 1011.0573 | 592.758 | 1.7057
Multifamily Weatherization - Heating Zone 3 | Multifamily Weatherization - Heating Zone 3 | 45 | 1588.653 | 592.76 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 1709.7878 | 0.3727 | 0.92943 |  |  | 592.758 | 0 | 0 | 0 | 0 | 0 | 592.758 | 0 | 592.758 | 0 | 0 | 18.7964 | 0 | 18.7964 | 719.7006 | 20.6227 | 106.6695 | 846.0577 | 592.758 | 1.4273 | 342.8541 | 0 | 0 | 1188.9117 | 592.758 | 2.0057
Multifamily Weatherization - PNW Average Climate | Multifamily Weatherization - PNW Average Climate | 45 | 1115.7622 | 592.76 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 1200.8391 | 0.26176 | 0.65277 |  |  | 592.758 | 0 | 0 | 0 | 0 | 0 | 592.758 | 0 | 592.758 | 0 | 0 | 26.7628 | 0 | 26.7628 | 505.4689 | 14.484 | 74.9174 | 594.2135 | 592.758 | 1.0025 | 240.7974 | 0 | 0 | 835.0109 | 592.758 | 1.4087
Category Totals (2000 $) |  | Savings Weighted Measure Data | [7 empty] | Savings |  |  | PV Costs |  |  |  | Lvl Cst | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
| Category | Weighted Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | Per. Repl. Cost ($/unit) | Load Shape | Weighted Load Factor | Weighted Coinc. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | PV Capital | PV Annual O&M | PV Period. Repl. | PV Total Costs | Levelized Cost mills/kWh | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
| Multifamily Weatherization - Heating Zone 3 | 45 | 1588.653 | 592.76 | 0 | 0 |  | 0.21 | 0.401 | 1709.7878 | 0.3727 | 0.92943 | 592.758 | 0 | 0 | 592.7581 | 18.7964 | 719.7006 | 20.6227 | 106.6695 | 846.0577 | 592.758 | 1.4273 | 342.8541 | 0 | 0 | 1188.9117 | 592.7581 | 2.0057
| Multifamily Weatherization - Heating Zone 2 | 45 | 1350.9996 | 592.76 | 0 | 0 |  | 0.21 | 0.401 | 1454.0133 | 0.31695 | 0.7904 | 592.758 | 0 | 0 | 592.7581 | 22.1029 | 612.0375 | 17.5376 | 90.7124 | 719.4922 | 592.758 | 1.2138 | 291.5651 | 0 | 0 | 1011.0573 | 592.7581 | 1.7057
| Multifamily Weatherization - PNW Average Climate | 45 | 1115.7622 | 592.76 | 0 | 0 |  | 0.21 | 0.401 | 1200.8391 | 0.26176 | 0.65277 | 592.758 | 0 | 0 | 592.7581 | 26.7628 | 505.4689 | 14.484 | 74.9174 | 594.2135 | 592.758 | 1.0025 | 240.7974 | 0 | 0 | 835.0109 | 592.7581 | 1.4087
| Multifamily Weatherization - Heating Zone 1 | 45 | 1018.5029 | 592.76 | 0 | 0 |  | 0.21 | 0.401 | 1096.1637 | 0.23894 | 0.59587 | 592.758 | 0 | 0 | 592.7581 | 29.3185 | 461.408 | 13.2214 | 68.387 | 542.4168 | 592.758 | 0.91507 | 219.8075 | 0 | 0 | 762.2243 | 592.7581 | 1.2859
Totals for Measures/Categories with Benefits Exceeding Costs
| Totals Basis | Busbar Savings | PV Cost | First Cost | Admin Cost | Program Cost | Program $/KWa | Levelized Cost | PV Benefits | B/C Ratio
| Measures with B/C>1.00 | 3163.8011 | 1185.5161 | 1185.52 | 237.1032 | 1422.6192 | 3938.9785 | 24.3792 | 1331.7381 | 0.93612
| Categories with B/C>1.00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2298.615 | 0
| % of Measures with B/C >1.00 | 2716.7235 | 1820.8994 | 1820.899 | 364.1798 | 2185.0792 | 7045.7275 | 43.6075 | 1143.5499 | 0.52334
| Block 1: x <=10 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 2: 10< x <=20 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 3: 20< x <=30 m/kWh | 3163.8011 | 1185.5161 | 1185.52 | 237.1032 | 1422.6192 | 3938.9785 | 24.3792 | 1331.7381 | 0.93612
| Block 4: 30< x <=40 m/kWh | 2297.0028 | 1185.5161 | 1185.52 | 237.1032 | 1422.6192 | 5425.3936 | 33.5789 | 966.8769 | 0.67965
| Block 5: 40< x <=50 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 6: 50< x <=60 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 7: 60m/kWh < x | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 10920 SF
Data Set Name
10920 SQFT 12 Unit Existing Multifamily (910 sq ft/unit)
Input Data | [7 empty] | Periodic O&M
Category Name | Measure Name | Savings (kwh/yr) | Phys Life (yrs) | Capital Cost ($) | Annual O&M ($) | Shape Pointer | Non-E Val ($/yr) | Cost 1 ($) | Period 1 | Cost 2 ($) | Period 2 | Cost 3 ($) | Period 3
ATTIC R19 | ATTIC R19 | 1159.2399 | 45 | 260.8667 | 0 | ResSHWX
FLOOR R19 | FLOOR R19 | 719.5292 | 45 | 242.6667 | 0 | ResSHWX
WALL R11 | WALL R11 | 917.9679 | 45 | 343.17 | 0 | ResSHWX
ATTIC R38 | ATTIC R38 | 225.8395 | 45 | 100.1 | 0 | ResSHWX
FLOOR R30 | FLOOR R30 | 128.5616 | 45 | 60.6667 | 0 | ResSHWX
CLASS 35 PRIME WINDOW (Energy Star) | CLASS 35 PRIME WINDOW (Energy Star) | 2403.7713 | 45 | 1520.95 | 0 | ResSHWX
FLOOR R38 | FLOOR R38 | 38.3308 | 45 | 39.4333 | 0 | ResSHWX
ATTIC R49 | ATTIC R49 | 47.9135 | 45 | 54.6 | 0 | ResSHWX
INFILTRATION @ 0.35 ACH | INFILTRATION @ 0.35 ACH | 435.3573 | 45 | 550 | 0 | ResSHWX
CLASS 25 PRIME WINDOW | CLASS 25 PRIME WINDOW | 264.7288 | 45 | 456 | 0 | ResSHWX
DOOR R5 | DOOR R5 | 80.1205 | 45 | 150.1 | 0 | ResSHWX
ProCost Results, Version 1.70a: JPH 03/07/01, 08:12 PM 1/13/2003
Measure Results (2000 $) |  | Measure Input Data | [7 empty] | Savings |  |  | PV Capital |  |  |  | PV O&M |  | Total PV Costs |  |  |  |  | Levelized Cost (mills/kwh) |  |  |  |  | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
Category | Measure | Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | PV Per. Repl. Cost ($/unit) | Load Shape | Div. Load Factor | Bulk Pwr Coin. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | Spon 1 | Spon 2 | Spon 3 | Cust | Utility | Cust | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
ATTIC R19 | ATTIC R19 | 45 | 1159.2399 | 260.87 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 1247.632 | 0.27196 | 0.67821 |  |  | 260.8668 | 0 | 0 | 0 | 0 | 0 | 260.8668 | 0 | 260.8668 | 0 | 0 | 11.3363 | 0 | 11.3363 | 525.1655 | 15.0484 | 77.8367 | 617.3682 | 260.8668 | 2.3666 | 250.1805 | 0 | 0 | 867.5487 | 260.8668 | 3.3256
FLOOR R19 | FLOOR R19 | 45 | 719.5292 | 242.67 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 774.3933 | 0.1688 | 0.42096 |  |  | 242.6668 | 0 | 0 | 0 | 0 | 0 | 242.6668 | 0 | 242.6668 | 0 | 0 | 16.9898 | 0 | 16.9898 | 325.9652 | 9.3404 | 48.3125 | 383.1946 | 242.6668 | 1.5791 | 155.2847 | 0 | 0 | 538.4792 | 242.6668 | 2.219
WALL R11 | WALL R11 | 45 | 917.9679 | 343.17 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 987.963 | 0.21536 | 0.53705 |  |  | 343.1701 | 0 | 0 | 0 | 0 | 0 | 343.1701 | 0 | 343.1701 | 0 | 0 | 18.8325 | 0 | 18.8325 | 415.8631 | 11.9164 | 61.6366 | 488.8757 | 343.1701 | 1.4246 | 198.1106 | 0 | 0 | 686.9863 | 343.1701 | 2.0019
ATTIC R38 | ATTIC R38 | 45 | 225.8395 | 100.1 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 243.0598 | 0.052983 | 0.13213 |  |  | 100.1 | 0 | 0 | 0 | 0 | 0 | 100.1 | 0 | 100.1 | 0 | 0 | 22.3286 | 0 | 22.3286 | 102.3111 | 2.9317 | 15.1639 | 120.2738 | 100.1 | 1.2015 | 48.7394 | 0 | 0 | 169.0132 | 100.1 | 1.6884
FLOOR R30 | FLOOR R30 | 45 | 128.5616 | 60.67 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 138.3645 | 0.030161 | 0.075214 |  |  | 60.6667 | 0 | 0 | 0 | 0 | 0 | 60.6667 | 0 | 60.6667 | 0 | 0 | 23.772 | 0 | 23.772 | 58.2417 | 1.6689 | 8.6322 | 68.4672 | 60.6667 | 1.1286 | 27.7454 | 0 | 0 | 96.2126 | 60.6667 | 1.5859
CLASS 35 PRIME WINDOW (Energy Star) | CLASS 35 PRIME WINDOW (Energy Star) | 45 | 2403.7713 | 1520.95 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 2587.0589 | 0.56393 | 1.4063 |  |  | 1520.9503 | 0 | 0 | 0 | 0 | 0 | 1520.9503 | 0 | 1520.9503 | 0 | 0 | 31.8749 | 0 | 31.8749 | 1088.9701 | 31.2039 | 161.4003 | 1280.1594 | 1520.9503 | 0.84168 | 518.7682 | 0 | 0 | 1798.9276 | 1520.9503 | 1.1828
FLOOR R38 | FLOOR R38 | 45 | 38.3308 | 39.43 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 41.2535 | 0.0089925 | 0.022425 |  |  | 39.4333 | 0 | 0 | 0 | 0 | 0 | 39.4333 | 0 | 39.4333 | 0 | 0 | 51.8253 | 0 | 51.8253 | 17.3648 | 0.49758 | 2.5737 | 20.4136 | 39.4333 | 0.51767 | 8.2723 | 0 | 0 | 28.6859 | 39.4333 | 0.72745
ATTIC R49 | ATTIC R49 | 45 | 47.9135 | 54.6 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 51.5669 | 0.011241 | 0.028032 |  |  | 54.6 | 0 | 0 | 0 | 0 | 0 | 54.6 | 0 | 54.6 | 0 | 0 | 57.4065 | 0 | 57.4065 | 21.7061 | 0.62198 | 3.2171 | 25.517 | 54.6 | 0.46734 | 10.3404 | 0 | 0 | 35.8574 | 54.6 | 0.65673
INFILTRATION @ 0.35 ACH | INFILTRATION @ 0.35 ACH | 45 | 435.3573 | 550 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 468.5533 | 0.10214 | 0.2547 |  |  | 550.0001 | 0 | 0 | 0 | 0 | 0 | 550.0001 | 0 | 550.0001 | 0 | 0 | 63.6419 | 0 | 63.6419 | 197.2281 | 5.6515 | 29.2319 | 231.8552 | 550.0001 | 0.42155 | 93.9563 | 0 | 0 | 325.8115 | 550.0001 | 0.59238
CLASS 25 PRIME WINDOW | CLASS 25 PRIME WINDOW | 45 | 264.7288 | 456 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 284.9144 | 0.062106 | 0.15488 |  |  | 456.0001 | 0 | 0 | 0 | 0 | 0 | 456.0001 | 0 | 456.0001 | 0 | 0 | 86.7741 | 0 | 86.7741 | 119.929 | 3.4365 | 17.7751 | 140.9848 | 456.0001 | 0.30918 | 57.1323 | 0 | 0 | 198.117 | 456.0001 | 0.43447
DOOR R5 | DOOR R5 | 45 | 80.1205 | 150.1 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 86.2297 | 0.018797 | 0.046874 |  |  | 150.1 | 0 | 0 | 0 | 0 | 0 | 150.1 | 0 | 150.1 | 0 | 0 | 94.3764 | 0 | 94.3764 | 36.2966 | 1.0401 | 5.3797 | 42.6692 | 150.1 | 0.28427 | 17.2912 | 0 | 0 | 59.9604 | 150.1 | 0.39947
Category Totals (2000 $) |  | Savings Weighted Measure Data | [7 empty] | Savings |  |  | PV Costs |  |  |  | Lvl Cst | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
| Category | Weighted Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | Per. Repl. Cost ($/unit) | Load Shape | Weighted Load Factor | Weighted Coinc. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | PV Capital | PV Annual O&M | PV Period. Repl. | PV Total Costs | Levelized Cost mills/kWh | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
| ATTIC R19 | 45 | 1159.2399 | 260.87 | 0 | 0 |  | 0.21 | 0.401 | 1247.632 | 0.27196 | 0.67821 | 260.8668 | 0 | 0 | 260.8668 | 11.3363 | 525.1655 | 15.0484 | 77.8367 | 617.3682 | 260.8668 | 2.3666 | 250.1805 | 0 | 0 | 867.5487 | 260.8668 | 3.3256
| FLOOR R19 | 45 | 719.5292 | 242.67 | 0 | 0 |  | 0.21 | 0.401 | 774.3933 | 0.1688 | 0.42096 | 242.6668 | 0 | 0 | 242.6667 | 16.9898 | 325.9652 | 9.3404 | 48.3125 | 383.1946 | 242.6668 | 1.5791 | 155.2847 | 0 | 0 | 538.4792 | 242.6667 | 2.219
| WALL R11 | 45 | 917.9679 | 343.17 | 0 | 0 |  | 0.21 | 0.401 | 987.963 | 0.21536 | 0.53705 | 343.1701 | 0 | 0 | 343.1701 | 18.8325 | 415.8631 | 11.9164 | 61.6366 | 488.8757 | 343.1701 | 1.4246 | 198.1106 | 0 | 0 | 686.9863 | 343.1701 | 2.0019
| ATTIC R38 | 45 | 225.8395 | 100.1 | 0 | 0 |  | 0.21 | 0.401 | 243.0598 | 0.052983 | 0.13213 | 100.1 | 0 | 0 | 100.1 | 22.3286 | 102.3111 | 2.9317 | 15.1639 | 120.2738 | 100.1 | 1.2015 | 48.7394 | 0 | 0 | 169.0132 | 100.1 | 1.6884
| FLOOR R30 | 45 | 128.5616 | 60.67 | 0 | 0 |  | 0.21 | 0.401 | 138.3645 | 0.030161 | 0.075214 | 60.6667 | 0 | 0 | 60.6667 | 23.772 | 58.2417 | 1.6689 | 8.6322 | 68.4672 | 60.6667 | 1.1286 | 27.7454 | 0 | 0 | 96.2126 | 60.6667 | 1.5859
| CLASS 35 PRIME WINDOW (Energy Star) | 45 | 2403.7713 | 1520.95 | 0 | 0 |  | 0.21 | 0.401 | 2587.0589 | 0.56393 | 1.4063 | 1520.9503 | 0 | 0 | 1520.9503 | 31.8749 | 1088.9701 | 31.2039 | 161.4003 | 1280.1594 | 1520.9503 | 0.84168 | 518.7682 | 0 | 0 | 1798.9276 | 1520.9503 | 1.1828
| FLOOR R38 | 45 | 38.3308 | 39.43 | 0 | 0 |  | 0.21 | 0.401 | 41.2535 | 0.0089925 | 0.022425 | 39.4333 | 0 | 0 | 39.4333 | 51.8253 | 17.3648 | 0.49758 | 2.5737 | 20.4136 | 39.4333 | 0.51767 | 8.2723 | 0 | 0 | 28.6859 | 39.4333 | 0.72745
| ATTIC R49 | 45 | 47.9135 | 54.6 | 0 | 0 |  | 0.21 | 0.401 | 51.5669 | 0.011241 | 0.028032 | 54.6 | 0 | 0 | 54.6 | 57.4065 | 21.7061 | 0.62198 | 3.2171 | 25.517 | 54.6 | 0.46734 | 10.3404 | 0 | 0 | 35.8574 | 54.6 | 0.65673
| INFILTRATION @ 0.35 ACH | 45 | 435.3573 | 550 | 0 | 0 |  | 0.21 | 0.401 | 468.5533 | 0.10214 | 0.2547 | 550.0001 | 0 | 0 | 550.0001 | 63.6419 | 197.2281 | 5.6515 | 29.2319 | 231.8552 | 550.0001 | 0.42155 | 93.9563 | 0 | 0 | 325.8115 | 550.0001 | 0.59238
| CLASS 25 PRIME WINDOW | 45 | 264.7288 | 456 | 0 | 0 |  | 0.21 | 0.401 | 284.9144 | 0.062106 | 0.15488 | 456.0001 | 0 | 0 | 456.0001 | 86.7741 | 119.929 | 3.4365 | 17.7751 | 140.9848 | 456.0001 | 0.30918 | 57.1323 | 0 | 0 | 198.117 | 456.0001 | 0.43447
| DOOR R5 | 45 | 80.1205 | 150.1 | 0 | 0 |  | 0.21 | 0.401 | 86.2297 | 0.018797 | 0.046874 | 150.1 | 0 | 0 | 150.1 | 94.3764 | 36.2966 | 1.0401 | 5.3797 | 42.6692 | 150.1 | 0.28427 | 17.2912 | 0 | 0 | 59.9604 | 150.1 | 0.39947
Totals for Measures/Categories with Benefits Exceeding Costs
| Totals Basis | Busbar Savings | PV Cost | First Cost | Admin Cost | Program Cost | Program $/KWa | Levelized Cost | PV Benefits | B/C Ratio
| Measures with B/C>1.00 | 3253.0481 | 946.8036 | 946.8 | 189.3607 | 1136.1643 | 3059.5303 | 18.9361 | 1369.3048 | 1.2052
| Categories with B/C>1.00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 2909.0413 | 0
| % of Measures with B/C >1.00 | 3273.6414 | 2131.4246 | 2131.4242 | 426.2848 | 2557.7094 | 6844.2236 | 42.3604 | 1377.9732 | 0.53875
| Block 1: x <=10 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 2: 10< x <=20 m/kWh | 1247.632 | 260.8668 | 260.87 | 52.1733 | 313.0401 | 2197.9487 | 13.6036 | 525.1655 | 1.6776
| Block 3: 20< x <=30 m/kWh | 2143.7806 | 746.6036 | 746.6 | 149.3207 | 895.9242 | 3660.9607 | 22.6585 | 902.3811 | 1.0072
| Block 4: 30< x <=40 m/kWh | 2587.0589 | 1520.9503 | 1520.95 | 304.19 | 1825.1403 | 6180.0796 | 38.2498 | 1088.9701 | 0.59665
| Block 5: 40< x <=50 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 6: 50< x <=60 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 7: 60m/kWh < x | 932.5179 | 1250.1336 | 1250.13 | 250.0267 | 1500.1602 | 14092.3887 | 87.2208 | 392.5245 | 0.26166

## 12492 SF
Data Set Name
12492 SQFT 12 Unit Existing Multifamily (1041 sq ft/unit)
Input Data | [7 empty] | Periodic O&M
Category Name | Measure Name | Savings (kwh/yr) | Phys Life (yrs) | Capital Cost ($) | Annual O&M ($) | Shape Pointer | Non-E Val ($/yr) | Cost 1 ($) | Period 1 | Cost 2 ($) | Period 2 | Cost 3 ($) | Period 3
VAULT R19 | VAULT R19 | 758.6594 | 45 | 132.655 | 0 | ResSHWX
ATTIC R19 | ATTIC R19 | 699.0312 | 45 | 153.94 | 0 | ResSHWX
FLOOR R19 | FLOOR R19 | 773.0172 | 45 | 253.3333 | 0 | ResSHWX
WALL R11 | WALL R11 | 1564.2386 | 45 | 569.16 | 0 | ResSHWX
ATTIC R38 | ATTIC R38 | 136.3674 | 45 | 59.07 | 0 | ResSHWX
FLOOR R30 | FLOOR R30 | 137.8116 | 45 | 63.3333 | 0 | ResSHWX
CLASS 35 PRIME WINDOW (Energy Star) | CLASS 35 PRIME WINDOW (Energy Star) | 2743.3762 | 45 | 1663.7058 | 0 | ResSHWX
FLOOR R38 | FLOOR R38 | 42.1949 | 45 | 41.1667 | 0 | ResSHWX
ATTIC R49 | ATTIC R49 | 29.7289 | 45 | 32.22 | 0 | ResSHWX
INFILTRATION @ 0.35 ACH | INFILTRATION @ 0.35 ACH | 491.3223 | 45 | 550 | 0 | ResSHWX
CLASS 25 PRIME WINDOW | CLASS 25 PRIME WINDOW | 318.4308 | 45 | 498.8 | 0 | ResSHWX
DOOR R5 | DOOR R5 | 178.3736 | 45 | 300.2 | 0 | ResSHWX
VAULT R38 | VAULT R38 | 24.365 | 45 | 50.9025 | 0 | ResSHWX
VAULT R49 | VAULT R49 | 14.619 | 45 | 33.935 | 0 | ResSHWX
ProCost Results, Version 1.70a: JPH 03/07/01, 08:12 PM 1/13/2003
Measure Results (2000 $) |  | Measure Input Data | [7 empty] | Savings |  |  | PV Capital |  |  |  | PV O&M |  | Total PV Costs |  |  |  |  | Levelized Cost (mills/kwh) |  |  |  |  | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
Category | Measure | Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | PV Per. Repl. Cost ($/unit) | Load Shape | Div. Load Factor | Bulk Pwr Coin. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | Spon 1 | Spon 2 | Spon 3 | Cust | Utility | Cust | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Spon 1 | Spon 2 | Spon 3 | Cust | Total | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
VAULT R19 | VAULT R19 | 45 | 758.6594 | 132.66 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 816.5072 | 0.17798 | 0.44385 |  |  | 132.655 | 0 | 0 | 0 | 0 | 0 | 132.655 | 0 | 132.655 | 0 | 0 | 8.8085 | 0 | 8.8085 | 343.6922 | 9.8483 | 50.9399 | 404.0339 | 132.655 | 3.0457 | 163.7295 | 0 | 0 | 567.7634 | 132.655 | 4.28
ATTIC R19 | ATTIC R19 | 45 | 699.0312 | 153.94 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 752.3323 | 0.164 | 0.40897 |  |  | 153.94 | 0 | 0 | 0 | 0 | 0 | 153.94 | 0 | 153.94 | 0 | 0 | 11.0938 | 0 | 11.0938 | 316.6791 | 9.0743 | 46.9362 | 372.2781 | 153.94 | 2.4183 | 150.8609 | 0 | 0 | 523.139 | 153.94 | 3.3983
FLOOR R19 | FLOOR R19 | 45 | 773.0172 | 253.33 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 831.9598 | 0.18135 | 0.45225 |  |  | 253.3334 | 0 | 0 | 0 | 0 | 0 | 253.3334 | 0 | 253.3334 | 0 | 0 | 16.5093 | 0 | 16.5093 | 350.1966 | 10.0347 | 51.904 | 411.6803 | 253.3334 | 1.6251 | 166.8282 | 0 | 0 | 578.5085 | 253.3334 | 2.2836
WALL R11 | WALL R11 | 45 | 1564.2386 | 569.16 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 1683.5118 | 0.36698 | 0.91515 |  |  | 569.1601 | 0 | 0 | 0 | 0 | 0 | 569.1601 | 0 | 569.1601 | 0 | 0 | 18.3298 | 0 | 18.3298 | 708.6403 | 20.3057 | 105.0302 | 833.0554 | 569.1601 | 1.4637 | 337.5851 | 0 | 0 | 1170.6405 | 569.1601 | 2.0568
ATTIC R38 | ATTIC R38 | 45 | 136.3674 | 59.07 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 146.7654 | 0.031992 | 0.079781 |  |  | 59.07 | 0 | 0 | 0 | 0 | 0 | 59.07 | 0 | 59.07 | 0 | 0 | 21.8214 | 0 | 21.8214 | 61.7779 | 1.7702 | 9.1563 | 72.6242 | 59.07 | 1.2295 | 29.43 | 0 | 0 | 102.0543 | 59.07 | 1.7277
FLOOR R30 | FLOOR R30 | 45 | 137.8116 | 63.33 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 148.3197 | 0.032331 | 0.080626 |  |  | 63.3333 | 0 | 0 | 0 | 0 | 0 | 63.3333 | 0 | 63.3333 | 0 | 0 | 23.1512 | 0 | 23.1512 | 62.4322 | 1.789 | 9.2533 | 73.3933 | 63.3333 | 1.1588 | 29.7417 | 0 | 0 | 103.135 | 63.3333 | 1.6284
CLASS 35 PRIME WINDOW (Energy Star) | CLASS 35 PRIME WINDOW (Energy Star) | 45 | 2743.3762 | 1663.71 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 2952.5586 | 0.64361 | 1.605 |  |  | 1663.7062 | 0 | 0 | 0 | 0 | 0 | 1663.7062 | 0 | 1663.7062 | 0 | 0 | 30.5505 | 0 | 30.5505 | 1242.8199 | 35.6124 | 184.203 | 1461.0203 | 1663.7062 | 0.87817 | 592.0598 | 0 | 0 | 2053.0801 | 1663.7062 | 1.234
FLOOR R38 | FLOOR R38 | 45 | 42.1949 | 41.17 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 45.4123 | 0.0098991 | 0.024686 |  |  | 41.1667 | 0 | 0 | 0 | 0 | 0 | 41.1667 | 0 | 41.1667 | 0 | 0 | 49.1487 | 0 | 49.1487 | 19.1154 | 0.54774 | 2.8332 | 22.4714 | 41.1667 | 0.54586 | 9.1063 | 0 | 0 | 31.5777 | 41.1667 | 0.76707
ATTIC R49 | ATTIC R49 | 45 | 29.7289 | 32.22 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 31.9957 | 0.0069745 | 0.017393 |  |  | 32.22 | 0 | 0 | 0 | 0 | 0 | 32.22 | 0 | 32.22 | 0 | 0 | 54.5975 | 0 | 54.5975 | 13.468 | 0.38592 | 1.9961 | 15.8325 | 32.22 | 0.49139 | 6.4159 | 0 | 0 | 22.2484 | 32.22 | 0.69052
INFILTRATION @ 0.35 ACH | INFILTRATION @ 0.35 ACH | 45 | 491.3223 | 550 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 528.7856 | 0.11527 | 0.28745 |  |  | 550.0001 | 0 | 0 | 0 | 0 | 0 | 550.0001 | 0 | 550.0001 | 0 | 0 | 56.3927 | 0 | 56.3927 | 222.5816 | 6.378 | 32.9896 | 261.66 | 550.0001 | 0.47575 | 106.0344 | 0 | 0 | 367.6944 | 550.0001 | 0.66854
CLASS 25 PRIME WINDOW | CLASS 25 PRIME WINDOW | 45 | 318.4308 | 498.8 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 342.7112 | 0.074705 | 0.1863 |  |  | 498.8001 | 0 | 0 | 0 | 0 | 0 | 498.8001 | 0 | 498.8001 | 0 | 0 | 78.911 | 0 | 78.9111 | 144.2573 | 4.1336 | 21.3809 | 169.5844 | 498.8001 | 0.33998 | 68.7219 | 0 | 0 | 238.3064 | 498.8001 | 0.47776
DOOR R5 | DOOR R5 | 45 | 178.3736 | 300.2 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 191.9746 | 0.041847 | 0.10436 |  |  | 300.2001 | 0 | 0 | 0 | 0 | 0 | 300.2001 | 0 | 300.2001 | 0 | 0 | 84.7826 | 0 | 84.7826 | 80.8078 | 2.3155 | 11.9768 | 94.9952 | 300.2001 | 0.31644 | 38.4956 | 0 | 0 | 133.4907 | 300.2001 | 0.44467
VAULT R38 | VAULT R38 | 45 | 24.365 | 50.9 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 26.2228 | 0.0057161 | 0.014255 |  |  | 50.9025 | 0 | 0 | 0 | 0 | 0 | 50.9025 | 0 | 50.9025 | 0 | 0 | 105.2444 | 0 | 105.2444 | 11.038 | 0.31629 | 1.636 | 12.9759 | 50.9025 | 0.25492 | 5.2583 | 0 | 0 | 18.2342 | 50.9025 | 0.35822
VAULT R49 | VAULT R49 | 45 | 14.619 | 33.94 | 0 | 0 | ResSHWX | 0.21 | 0.401 | 15.7337 | 0.0034297 | 0.0085528 |  |  | 33.935 | 0 | 0 | 0 | 0 | 0 | 33.935 | 0 | 33.935 | 0 | 0 | 116.9382 | 0 | 116.9382 | 6.6228 | 0.18977 | 0.98159 | 7.7855 | 33.935 | 0.22943 | 3.155 | 0 | 0 | 10.9405 | 33.935 | 0.3224
Category Totals (2000 $) |  | Savings Weighted Measure Data | [7 empty] | Savings |  |  | PV Costs |  |  |  | Lvl Cst | PV Bulk Power System Benefits | [5 empty] | PV Regional Benefits
| Category | Weighted Measure Life | Site Savings (kWh) | Capital Cost ($/unit) | Annual O&M Cost ($/unit) | Per. Repl. Cost ($/unit) | Load Shape | Weighted Load Factor | Weighted Coinc. Factor | Bulk Energy (kWh) | Bulk Demand (kw) | Local Demand (kW) | PV Capital | PV Annual O&M | PV Period. Repl. | PV Total Costs | Levelized Cost mills/kWh | Energy | Bulk T&D Def. Cap. | Act C-E Credit | Total System Benefit | Total non-Consumer Cost | Bulk System B/C Ratio | Local T&D Def.Cap. | Non-E Value | Exter-nalities | Total Regional Benefit | Total Regional Cost | Total Regional B/C Ratio
| VAULT R19 | 45 | 758.6594 | 132.66 | 0 | 0 |  | 0.21 | 0.401 | 816.5072 | 0.17798 | 0.44385 | 132.655 | 0 | 0 | 132.655 | 8.8085 | 343.6922 | 9.8483 | 50.9399 | 404.0339 | 132.655 | 3.0457 | 163.7295 | 0 | 0 | 567.7634 | 132.655 | 4.28
| ATTIC R19 | 45 | 699.0312 | 153.94 | 0 | 0 |  | 0.21 | 0.401 | 752.3323 | 0.164 | 0.40897 | 153.94 | 0 | 0 | 153.94 | 11.0938 | 316.6791 | 9.0743 | 46.9362 | 372.2781 | 153.94 | 2.4183 | 150.8609 | 0 | 0 | 523.139 | 153.94 | 3.3983
| FLOOR R19 | 45 | 773.0172 | 253.33 | 0 | 0 |  | 0.21 | 0.401 | 831.9598 | 0.18135 | 0.45225 | 253.3334 | 0 | 0 | 253.3334 | 16.5093 | 350.1966 | 10.0347 | 51.904 | 411.6803 | 253.3334 | 1.6251 | 166.8282 | 0 | 0 | 578.5085 | 253.3334 | 2.2836
| WALL R11 | 45 | 1564.2386 | 569.16 | 0 | 0 |  | 0.21 | 0.401 | 1683.5118 | 0.36698 | 0.91515 | 569.1601 | 0 | 0 | 569.1601 | 18.3298 | 708.6403 | 20.3057 | 105.0302 | 833.0554 | 569.1601 | 1.4637 | 337.5851 | 0 | 0 | 1170.6405 | 569.1601 | 2.0568
| ATTIC R38 | 45 | 136.3674 | 59.07 | 0 | 0 |  | 0.21 | 0.401 | 146.7654 | 0.031992 | 0.079781 | 59.07 | 0 | 0 | 59.07 | 21.8214 | 61.7779 | 1.7702 | 9.1563 | 72.6242 | 59.07 | 1.2295 | 29.43 | 0 | 0 | 102.0543 | 59.07 | 1.7277
| FLOOR R30 | 45 | 137.8116 | 63.33 | 0 | 0 |  | 0.21 | 0.401 | 148.3197 | 0.032331 | 0.080626 | 63.3333 | 0 | 0 | 63.3333 | 23.1512 | 62.4322 | 1.789 | 9.2533 | 73.3933 | 63.3333 | 1.1588 | 29.7417 | 0 | 0 | 103.135 | 63.3333 | 1.6284
| CLASS 35 PRIME WINDOW (Energy Star) | 45 | 2743.3762 | 1663.71 | 0 | 0 |  | 0.21 | 0.401 | 2952.5586 | 0.64361 | 1.605 | 1663.7062 | 0 | 0 | 1663.7062 | 30.5505 | 1242.8199 | 35.6124 | 184.203 | 1461.0203 | 1663.7062 | 0.87817 | 592.0598 | 0 | 0 | 2053.0801 | 1663.7062 | 1.234
| FLOOR R38 | 45 | 42.1949 | 41.17 | 0 | 0 |  | 0.21 | 0.401 | 45.4123 | 0.0098991 | 0.024686 | 41.1667 | 0 | 0 | 41.1667 | 49.1487 | 19.1154 | 0.54774 | 2.8332 | 22.4714 | 41.1667 | 0.54586 | 9.1063 | 0 | 0 | 31.5777 | 41.1667 | 0.76707
| ATTIC R49 | 45 | 29.7289 | 32.22 | 0 | 0 |  | 0.21 | 0.401 | 31.9957 | 0.0069745 | 0.017393 | 32.22 | 0 | 0 | 32.22 | 54.5975 | 13.468 | 0.38592 | 1.9961 | 15.8325 | 32.22 | 0.49139 | 6.4159 | 0 | 0 | 22.2484 | 32.22 | 0.69052
| INFILTRATION @ 0.35 ACH | 45 | 491.3223 | 550 | 0 | 0 |  | 0.21 | 0.401 | 528.7856 | 0.11527 | 0.28745 | 550.0001 | 0 | 0 | 550.0001 | 56.3927 | 222.5816 | 6.378 | 32.9896 | 261.66 | 550.0001 | 0.47575 | 106.0344 | 0 | 0 | 367.6944 | 550.0001 | 0.66854
| CLASS 25 PRIME WINDOW | 45 | 318.4308 | 498.8 | 0 | 0 |  | 0.21 | 0.401 | 342.7112 | 0.074705 | 0.1863 | 498.8001 | 0 | 0 | 498.8001 | 78.9111 | 144.2573 | 4.1336 | 21.3809 | 169.5844 | 498.8001 | 0.33998 | 68.7219 | 0 | 0 | 238.3064 | 498.8001 | 0.47776
| DOOR R5 | 45 | 178.3736 | 300.2 | 0 | 0 |  | 0.21 | 0.401 | 191.9746 | 0.041847 | 0.10436 | 300.2001 | 0 | 0 | 300.2001 | 84.7826 | 80.8078 | 2.3155 | 11.9768 | 94.9952 | 300.2001 | 0.31644 | 38.4956 | 0 | 0 | 133.4907 | 300.2001 | 0.44467
| VAULT R38 | 45 | 24.365 | 50.9 | 0 | 0 |  | 0.21 | 0.401 | 26.2228 | 0.0057161 | 0.014255 | 50.9025 | 0 | 0 | 50.9025 | 105.2444 | 11.038 | 0.31629 | 1.636 | 12.9759 | 50.9025 | 0.25492 | 5.2583 | 0 | 0 | 18.2342 | 50.9025 | 0.35822
| VAULT R49 | 45 | 14.619 | 33.94 | 0 | 0 |  | 0.21 | 0.401 | 15.7337 | 0.0034297 | 0.0085528 | 33.935 | 0 | 0 | 33.935 | 116.9382 | 6.6228 | 0.18977 | 0.98159 | 7.7855 | 33.935 | 0.22943 | 3.155 | 0 | 0 | 10.9405 | 33.935 | 0.3224
Totals for Measures/Categories with Benefits Exceeding Costs
| Totals Basis | Busbar Savings | PV Cost | First Cost | Admin Cost | Program Cost | Program $/KWa | Levelized Cost | PV Benefits | B/C Ratio
| Measures with B/C>1.00 | 4231.0765 | 1168.1585 | 1168.16 | 233.6317 | 1401.7902 | 2902.2595 | 17.9627 | 1780.9862 | 1.2705
| Categories with B/C>1.00 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3584.1291 | 0
| % of Measures with B/C >1.00 | 4378.1654 | 2563.9011 | 2563.9003 | 512.7801 | 3076.6812 | 6155.9409 | 38.1004 | 1842.9003 | 0.59899
| Block 1: x <=10 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 2: 10< x <=20 m/kWh | 2400.7993 | 539.9284 | 539.93 | 107.9857 | 647.9141 | 2364.0991 | 14.6319 | 1010.5679 | 1.5597
| Block 3: 20< x <=30 m/kWh | 1978.597 | 691.5634 | 691.56 | 138.3127 | 829.8761 | 3674.1768 | 22.7403 | 832.8504 | 1.0036
| Block 4: 30< x <=40 m/kWh | 2952.5586 | 1663.7062 | 1663.71 | 332.7412 | 1996.4473 | 5923.2959 | 36.6605 | 1242.8199 | 0.62252
| Block 5: 40< x <=50 m/kWh | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| Block 6: 50< x <=60 m/kWh | 45.4123 | 41.1667 | 41.17 | 8.2333 | 49.4 | 9529.2373 | 58.9785 | 19.1154 | 0.38695
| Block 7: 60m/kWh < x | 1137.4236 | 1466.0578 | 1466.06 | 293.2115 | 1759.2693 | 13549.2168 | 83.859 | 478.7755 | 0.27214

## UA Optimizer
[29 empty] | 10920 SF | [5 empty] | 12492 SF
[13 empty] | Formulas used by Measure Optimizer - Do not delete | [15 empty] | 20% | 50% | 25% | 5% | 100% |  | 20% | 50% | 25% | 5% | 100%
[13 empty] | 0 | 0 | 0 | 0 |  |  |  |  | 0 | 0 | 0 | 0 |  |  |  |  | Portland | Seattle | Spokane | Missoula | UA | Use | Portland | Seattle | Spokane | Missoula | UA | Use
|  | Component Areas |  | Component UA |  | Delta UA |  | Installed Cost (2000$/sf) | Installed Cost Total |  |  |  | Prototype | 10920 | [6 empty] | Prototype | 10920 | [6 empty] | 109079.4902 | 125174.685 | 174370.9933 | 204061.295 | 5000 | 138199.0536 | 107189.5107 | 122915.3824 | 171867.9754 | 201233.9291 | 5000 | 135924.2836
Conservation Measure | Uo | 10920 | 12492 | 10920 | 12492 | 10920 | 12492 |  | 10920 | 12492 |  |  | Measure | $/Delta UA | Delta UA | Delta Cost |  |  |  |  | Measure | $/Delta UA | Delta UA | Delta Cost |  |  |  |  | 107508.116 | 123352.9739 | 172064.6059 | 201392.9095 | 4950 | 136263.9071 | 105620.5977 | 121110.2549 | 169570.4366 | 198572.2824 | 4950 | 134000.4703
WALL R0 | 0.15437 | 5084 | 8432 | 784.8254 | 1301.6616 | 0 | 0 |  | 0 | 0 |  |  | WALL R0 | 0 | 0 | 0 |  |  |  |  | WALL R0 | 0 | 0 | 0 |  |  |  |  | 105936.5368 | 121536.2145 | 169759.918 | 198725.8717 | 4900 | 134331.6877 | 104051.4796 | 119310.6651 | 167273.3079 | 195914.3569 | 4900 | 132079.6733
WALL R11 | 0.094 | 5084 | 8432 | 477.896 | 792.608 | 306.9294 | 509.0536 | 0.81 | 4118.04 | 6829.92 |  |  | ATTIC R0 | 0 | 0 | 0 |  |  |  |  | ATTIC R0 | 0 | 0 | 0 |  |  |  |  | 104366.1295 | 119720.3926 | 167457.0173 | 196061.1778 | 4850 | 132400.7354 | 102483.2699 | 117514.5034 | 164979.3437 | 193258.8632 | 4850 | 130161.6847
ATTIC R0 | 0.163 | 3640 | 2148 | 593.32 | 350.124 | 0 | 0 | 0 | 0 | 0 |  |  | ATTIC R11 | 0 | 0 | 0 |  |  |  |  | ATTIC R11 | 0 | 0 | 0 |  |  |  |  | 102796.9528 | 117906.4752 | 165154.5561 | 193397.8904 | 4800 | 130471.1617 | 100916.9645 | 115719.162 | 162689.54 | 190605.5962 | 4800 | 128245.6387
ATTIC R11 | 0.08 | 3640 | 2148 | 291.2 | 171.84 | 0 | 0 | 0 | 0 | 0 |  |  | ATTIC R30 | 0 | 0 | 0 |  |  |  |  | ATTIC R30 | 0 | 0 | 0 |  |  |  |  | 101230.9698 | 116098.9159 | 162851.8898 | 190736.5954 | 4750 | 128545.4541 | 99354.5854 | 113922.5608 | 160400.4688 | 187952.7688 | 4750 | 126329.9531
ATTIC R19 | 0.06 | 3640 | 2148 | 218.4 | 128.88 | 374.92 | 221.244 | 0.86 | 3130.4 | 1847.28 |  |  | VAULT R0 | 0 | 0 | 0 |  |  |  |  | VAULT R0 | 0 | 0 | 0 |  |  |  |  | 99664.8696 | 114295.0776 | 160551.9484 | 188077.9373 | 4700 | 126622.3967 | 97796.9528 | 112127.3074 | 158113.5658 | 185300.2051 | 4700 | 124416.4459
ATTIC R30 | 0.043 | 3640 | 2148 | 156.52 | 92.364 | 0 | 0 | 0 | 0 | 0 |  |  | VAULT R11 | 0 | 0 | 0 |  |  |  |  | VAULT R11 | 0 | 0 | 0 |  |  |  |  | 98100.1172 | 112493.5834 | 158256.0211 | 185419.4843 | 4650 | 124701.7946 | 96241.3712 | 110334.0463 | 155827.1316 | 182647.993 | 4650 | 122504.4799
ATTIC R38 | 0.039 | 3640 | 2148 | 141.96 | 83.772 | 76.44 | 45.108 | 0.33 | 1201.2 | 708.84 |  |  | VAULT R19 | 0 | 0 | 0 |  |  |  |  | VAULT R30 | 0 | 24.063 | 0 |  |  |  |  | 96535.2476 | 110695.8394 | 155962.174 | 182761.7052 | 4600 | 122783.598 | 94687.4011 | 108542.9534 | 153541.9865 | 179994.4916 | 4600 | 120594.1781
ATTIC R49 | 0.034 | 3640 | 2148 | 123.76 | 73.032 | 18.2 | 10.74 | 0.18 | 655.2 | 386.64 |  |  | VAULT R30 | 0 | 0 | 0 |  |  |  |  | FLOOR R0 | 0 | 0 | 0 |  |  |  |  | 94971.6965 | 108901.3771 | 153669.8799 | 180105.8599 | 4550 | 120867.7908 | 93133.6361 | 106754.0873 | 151263.3167 | 177344.5063 | 4550 | 118686.8254
VAULT R0 | 0.177 | 0 | 1851 | 0 | 327.627 | 0 | 0 | 0 | 0 | 0 |  |  | VAULT R38 | 0 | 0 | 0 |  |  |  |  | FLOOR R11 | 0 | 0 | 0 |  |  |  |  | 93409.9033 | 107109.0829 | 151380.4864 | 177453.5306 | 4500 | 118954.3202 | 91580.6915 | 104967.0964 | 148989.1591 | 174698.8573 | 4500 | 116781.9191
VAULT R11 | 0.073 | 0 | 1851 | 0 | 135.123 | 0 | 0 | 0 | 0 | 0 |  |  | VAULT R49 | 0 | 0 | 0 |  |  |  |  | CLASS 120 WINDOW | 0 | 0 | 0 |  |  |  |  | 91852.7688 | 105316.9352 | 149095.6636 | 174803.6039 | 4450 | 117043.1175 | 90030.1787 | 103183.5042 | 146714.4448 | 172057.4861 | 4450 | 114879.2734
VAULT R19 | 0.048 | 0 | 1851 | 0 | 88.848 | 0 | 238.779 | 0.86 | 0 | 1591.86 |  |  | FLOOR R0 | 0 | 0 | 0 |  |  |  |  | DOOR R2.5 | 0 | 0 | 0 |  |  |  |  | 90299.2089 | 103525.0806 | 146811.339 | 172153.7357 | 4400 | 115132.9036 | 88481.717 | 101401.4943 | 144440.5508 | 169420.4805 | 4400 | 112978.2523
VAULT R30 | 0.035 | 0 | 1851 | 0 | 64.785 | 0 | 24.063 | 0 | 0 | 0 |  |  | FLOOR R11 | 0 | 0 | 0 |  |  |  |  | INFILTRATION @ 0.45 ACH | 0 | 0 | 0 |  |  |  |  | 88745.8248 | 101735.3355 | 144528.6844 | 169504.395 | 4350 | 113224.2236 | 86934.4565 | 99622.1799 | 142168.4442 | 166787.3718 | 4350 | 111079.4609
VAULT R38 | 0.03 | 0 | 1851 | 0 | 55.53 | 0 | 9.255 | 0.33 | 0 | 610.83 |  |  | CLASS 120 WINDOW | 0 | 0 | 0 |  |  |  |  | BASE CASE WINDOW - CLASS 54 | 0.00017187 | 725.5653 | 0.1247 |  |  |  |  | 87194.4623 | 99948.286 | 142246.9675 | 166855.5816 | 4300 | 111317.5564 | 85390.2432 | 97843.4515 | 139899.3847 | 164154.2045 | 4300 | 109182.3308
VAULT R49 | 0.027 | 0 | 1851 | 0 | 49.977 | 0 | 5.553 | 0.22 | 0 | 407.22 |  |  | DOOR R2.5 | 0 | 0 | 0 |  |  |  |  | VAULT R19 | 6.6667 | 238.779 | 1591.86 |  |  |  |  | 85644.77 | 98163.5511 | 139968.2684 | 164205.5377 | 4250 | 109413.0735 | 83850.9229 | 96068.5028 | 137636.7712 | 161520.627 | 4250 | 107289.6601
FLOOR R0 | 0.10597 | 3640 | 3800 | 385.7237 | 402.6786 | 0 | 0 | 0 | 0 | 0 |  |  | INFILTRATION @ 0.45 ACH | 0 | 0 | 0 |  |  |  |  | ATTIC R19 | 8.3495 | 221.244 | 1847.28 |  |  |  |  | 84095.8394 | 96383.0355 | 137696.0152 | 161560.3282 | 4200 | 107512.7058 | 82312.6575 | 94296.6598 | 135377.2634 | 158891.0636 | 4200 | 105399.7304
FLOOR R11 | 0.055 | 3640 | 3800 | 200.2 | 209 | 0 | 0 | 0 | 0 | 0 |  |  | BASE CASE WINDOW - CLASS 54 | 0.00017187 | 663.3075 | 0.114 |  |  |  |  | FLOOR R19 | 12.3137 | 246.8786 | 3040 |  |  |  |  | 82552.0656 | 94605.1275 | 135424.4653 | 158921.213 | 4150 | 105615.1538 | 80778.5819 | 92529.0946 | 133118.4588 | 156263.2874 | 4150 | 103513.0428
FLOOR R19 | 0.041 | 3640 | 3800 | 149.24 | 155.8 | 236.4837 | 246.8786 | 0.8 | 2912 | 3040 |  |  | ATTIC R19 | 8.3495 | 374.92 | 3130.4 |  |  |  |  | WALL R11 | 13.4169 | 509.0536 | 6829.92 |  |  |  |  | 81010.167 | 92829.036 | 133155.1714 | 156287.4011 | 4100 | 103719.7143 | 79248.8427 | 90767.6824 | 130861.9396 | 153638.7929 | 4100 | 101631.0343
FLOOR R30 | 0.029 | 3640 | 3800 | 105.56 | 110.2 | 43.68 | 45.6 | 0.2 | 728 | 760 |  |  | FLOOR R19 | 12.3137 | 236.4837 | 2912 |  |  |  |  | ATTIC R38 | 15.7143 | 45.108 | 708.84 |  |  |  |  | 79470.4659 | 91054.5268 | 130886.8737 | 153656.4899 | 4050 | 101825.8995 | 77722.7952 | 89009.581 | 128607.1784 | 151020.8907 | 4050 | 99752.1887
FLOOR R38 | 0.025 | 3640 | 3800 | 91 | 95 | 14.56 | 15.2 | 0.13 | 473.2 | 494 |  |  | WALL R11 | 13.4169 | 306.9294 | 4118.04 |  |  |  |  | FLOOR R30 | 16.6667 | 45.6 | 760 |  |  |  |  | 77932.9915 | 89281.9221 | 128622.6487 | 151026.8386 | 4000 | 99934.5634 | 76200.5567 | 87258.5995 | 126354.4389 | 148405.5669 | 4000 | 97878.2992
CLASS 120 WINDOW | 1.0949 | 1140 | 1247 | 1248.1752 | 1365.3285 | 0 | 0 | 0 | 0 | 0 |  |  | ATTIC R38 | 15.7143 | 76.44 | 1201.2 |  |  |  |  | CLASS 35 PRIME WINDOW (Energy Star) | 21.2084 | 941.3485 | 19964.47 |  |  |  |  | 76399.4726 | 87513.4486 | 126366.2467 | 148397.8904 | 3950 | 98048.075 | 74686.5807 | 85516.7887 | 124103.4574 | 145797.4216 | 3950 | 96011.4459
BASE CASE WINDOW - CLASS 120 | 1.0949 | 1140 | 1247 | 1248.1752 | 1365.3285 | 0 | 0 | 0.0001 | 0.114 | 0.1247 |  |  | FLOOR R30 | 16.6667 | 43.68 | 728 |  |  |  |  | FLOOR R38 | 32.5 | 15.2 | 494 |  |  |  |  | 74866.6569 | 85748.0809 | 124113.1556 | 145774.1283 | 3900 | 96164.3671 | 73180.9259 | 83779.9883 | 121854.1752 | 143190.6241 | 3900 | 94149.2543
CLASS 35 PRIME WINDOW (Energy Star) | 0.34 | 1140 | 1247 | 387.6 | 423.98 | 860.5752 | 941.3485 | 16.01 | 18251.4 | 19964.47 |  |  | CLASS 35 PRIME WINDOW (Energy Star) | 21.2084 | 860.5752 | 18251.4 |  |  |  |  | ATTIC R49 | 36 | 10.74 | 386.64 |  |  |  |  | 73336.654 | 83989.3935 | 121859.8301 | 143152.3879 | 3850 | 94284.6045 | 71678.2596 | 82045.0044 | 119610.5772 | 140583.2699 | 3850 | 92289.9619
CLASS 25 PRIME WINDOW | 0.245 | 1140 | 1247 | 279.3 | 305.515 | 108.3 | 118.465 | 4.8 | 5472 | 5985.6 |  |  | FLOOR R38 | 32.5 | 14.56 | 473.2 |  |  |  |  | INFILTRATION @ 0.35 ACH | 36.6901 | 179.8848 | 6600 |  |  |  |  | 71810.4014 | 82236.4489 | 119609.4052 | 140533.8705 | 3800 | 92409.3495 | 70177.0876 | 80316.027 | 117368.1219 | 137981.3947 | 3800 | 90434.5312
DOOR R2.5 | 0.47 | 120 | 240 | 56.4 | 112.8 | 0 | 0 |  | 0 | 0 |  |  | ATTIC R49 | 36 | 18.2 | 655.2 |  |  |  |  | CLASS 25 PRIME WINDOW | 50.5263 | 118.465 | 5985.6 |  |  |  |  | 70290.419 | 80491.591 | 117358.5116 | 137919.5429 | 3750 | 90539.4843 | 68680.3985 | 78595.1655 | 115130.7647 | 135384.0023 | 3750 | 88585.5538
DOOR R5 | 0.19 | 120 | 240 | 22.8 | 45.6 | 33.6 | 67.2 | 15.01 | 1801.2 | 3602.4 |  |  | INFILTRATION @ 0.35 ACH | 38.7433 | 170.352 | 6600 |  |  |  |  | DOOR R5 | 53.6071 | 67.2 | 3602.4 |  |  |  |  | 68783.9437 | 78756.7243 | 115110.46 | 135311.4562 | 3700 | 88678.3387 | 67183.7386 | 76876.7067 | 112899.0038 | 132786.8444 | 3700 | 86739.1943
INFILTRATION @ 0.45 ACH | 0.0081 | 94640 | 99936 | 766.584 | 809.4816 | 0 | 0 |  | 0 | 0 |  |  | CLASS 25 PRIME WINDOW | 50.5263 | 108.3 | 5472 |  |  |  |  | VAULT R38 | 66 | 9.255 | 610.83 |  |  |  |  | 67284.0609 | 77025.2857 | 112866.5397 | 132709.4345 | 3650 | 86821.5617 | 65689.7158 | 75164.3422 | 110671.0519 | 130193.0267 | 3650 | 84897.5286
INFILTRATION @ 0.35 ACH | 0.0063 | 94640 | 99936 | 596.232 | 629.5968 | 170.352 | 179.8848 | 550 | 6600 | 6600 |  |  | DOOR R5 | 53.6071 | 33.6 | 1801.2 |  |  |  |  | VAULT R49 | 73.3333 | 5.553 | 407.22 |  |  |  |  | 65785.6724 | 75298.0369 | 110630.7354 | 130107.9402 | 3600 | 84969.2338 | 64199.2968 | 73455.7574 | 108446.7331 | 127603.4867 | 3600 | 83059.5957
[9 empty] | 0 | [19 empty] | 64289.0712 | 73577.4392 | 108397.5095 | 127509.2587 | 3550 | 83121.3742 | 62710.7823 | 71754.1459 | 106224.9927 | 125019.3085 | 3550 | 81226.443
[29 empty] | 62796.8649 | 71864.4301 | 106166.4811 | 124915.9684 | 3500 | 81279.0067 | 61223.9965 | 70063.9613 | 104006.5338 | 122443.1878 | 3500 | 79400.5728
[13 empty] | Macro to update measure list=> "Ctl O" | [15 empty] | 61305.6548 | 70155.8746 | 103941.0782 | 122323.9086 | 3450 | 79440.5333 | 59744.2426 | 68380.9259 | 101797.3923 | 119871.843 | 3450 | 77582.2517
[29 empty] | 59820.1875 | 68452.3293 | 101718.2537 | 119736.5661 | 3400 | 77606.5939 | 58268.6786 | 66701.2306 | 99596.3961 | 117306.5045 | 3400 | 75768.7753
[29 empty] | 58334.6909 | 66755.3179 | 99498.1248 | 117153.5892 | 3350 | 75776.8078 | 56796.1617 | 65020.8907 | 97394.3745 | 114744.6528 | 3350 | 73955.504
[29 empty] | 56851.714 | 65064.3422 | 97280.6329 | 114577.2048 | 3300 | 73951.5324 | 55329.5341 | 63347.5242 | 95196.3375 | 112188.7489 | 3300 | 72148.1907
[13 empty] | Optimized Measure Order | [15 empty] | 55371.4035 | 63382.2737 | 95068.327 | 112008.409 | 3250 | 72132.9197 | 53877.5857 | 61682.4202 | 93000.586 | 109641.1661 | 3250 | 70348.932
UA Change - Based on C&R Discount Program FY02 ResWX Measure Reports |  |  |  | Pre-ResWX UA |  |  | Post-ResWX UA |  |  | Change in UA | [18 empty] | 53899.3847 | 61707.7058 | 92865.0747 | 109448.1395 | 3200 | 70322.4055 | 52434.896 | 60022.1799 | 90806.1236 | 107102.7542 | 3200 | 68554.7378
Component | Share of ResWx Measures Installed | Pre-ResWX U-Value | Post-ResWX U-Value | 10920 | 12492 | 11399.46 | 10920 | 12492 | 11399.46 | 10920 | 12492 | 11399.46 | Measure | UA | Delta UA | Installed Cost | Cumulative Installed Cost | Bldg Use | Unit Use | Bldg Savings | Measure | UA | Delta UA | Installed Cost | Cumulative Installed Cost | Bldg Use | Unit Use | Bldg Savings | 52433.8705 | 60033.6361 | 90669.0595 | 106893.8471 | 3150 | 68515.5494 | 50993.2611 | 58368.6786 | 88611.8371 | 104571.4914 | 3150 | 66764.5253
Attic R19 to R38 | 24.51% | 0.06 | 0.039 | 53.5298 | 31.5885 | 46.8377 | 34.7944 | 20.5325 | 30.4445 | 18.7354 | 11.056 | 16.3932 | Uninsulated Base | 3835.0282 | 0 |  |  | 93723.0863 | 7810.2572 |  | Uninsulated Base | 4669.7012 |  |  |  | 123257.8403 | 10271.4867 | 0 | 50973.5716 | 58365.8365 | 88475.7691 | 104342.9534 | 3100 | 66713.7225 | 49551.8898 | 56724.2602 | 86418.4588 | 102045.1509 | 3100 | 64979.3803
Floor R0 to R19 | 13.8% | 0.10597 | 0.041 | 53.2234 | 55.5629 | 53.937 | 20.5926 | 21.4978 | 20.8687 | 32.6308 | 34.0651 | 33.0683 | ATTIC R19 | 3460.1082 | 374.92 | 3130.4 | 3130.4 | 79812.2071 | 6651.0173 | 13910.8792 | VAULT R19 | 4430.9222 | 238.779 | 1591.86 | 1591.86 | 114153.9272 | 9512.8273 | 9103.9131 | 49525.2271 | 56702.8128 | 86284.2953 | 101800.2051 | 3050 | 64917.5359 | 48114.0053 | 55084.2953 | 84229.8271 | 99522.2678 | 3050 | 63198.5189
Floor R19 to R30 | 12.5% | 0.041 | 0.029 | 18.654 | 19.4739 | 18.904 | 13.1943 | 13.7742 | 13.3712 | 5.4597 | 5.6997 | 5.5329 | FLOOR R19 | 3223.6245 | 236.4837 | 2912 | 6042.4 | 71177.8566 | 5931.488 | 8634.3505 | ATTIC R19 | 4209.6782 | 221.244 | 1847.28 | 3439.14 | 105765.5526 | 8813.7961 | 8388.3746 | 48086.61 | 55050.6299 | 84094.1694 | 99263.9027 | 3000 | 63129.3745 | 46679.3144 | 53448.4911 | 82046.9089 | 97004.0434 | 3000 | 61422.0378
Wall R0 to R11 | 21.15% | 0.15437 | 0.094 | 165.9981 | 275.314 | 199.3395 | 101.0796 | 167.6442 | 121.3818 | 64.9185 | 107.6697 | 77.9576 | WALL R11 | 2916.6952 | 306.9294 | 4118.04 | 10160.44 | 60162.2414 | 5013.5201 | 11015.6152 | FLOOR R19 | 3962.7996 | 246.8786 | 3040 | 6479.14 | 96489.3463 | 8040.7789 | 9276.2063 | 46650.5713 | 53405.5669 | 81903.8969 | 96736.2145 | 2950 | 61345.6827 | 45249.9561 | 51822.8538 | 79870.6124 | 94496.6598 | 2950 | 59653.9042
Energy Star Prime Window Replacements | 28.04% | 1.0949 | 0.34 | 350.0062 | 382.8576 | 360.0259 | 108.6886 | 118.8901 | 111.8 | 241.3176 | 263.9676 | 248.2258 | ATTIC R38 | 2840.2552 | 76.44 | 1201.2 | 11361.64 | 57452.1669 | 4787.6806 | 2710.0745 | WALL R11 | 3453.7461 | 509.0536 | 6829.92 | 13309.06 | 77718.4827 | 6476.5402 | 18770.8636 | 45216.1735 | 51773.0149 | 79713.8588 | 94215.8805 | 2900 | 59569.0009 | 43825.1978 | 50199.8242 | 77699.7949 | 92001.4064 | 2900 | 57889.9707
UA of Retrofitted Components | 100% |  |  | 641.4115 | 764.7969 | 679.044 | 278.3495 | 342.3388 | 297.8662 | 363.062 | 422.4581 | 381.1778 | FLOOR R30 | 2796.5752 | 43.68 | 728 | 12089.64 | 55909.4273 | 4659.1189 | 1542.7397 | ATTIC R38 | 3408.6381 | 45.108 | 708.84 | 14017.9 | 76082.0739 | 6340.1728 | 1636.4089 | 43786.1412 | 50143.6859 | 77529.7099 | 91699.3847 | 2850 | 57796.4679 | 42399.0038 | 48583.4749 | 75537.9139 | 89515.3824 | 2850 | 56131.7858
[13 empty] | CLASS 35 PRIME WINDOW (Energy Star) | 1936 | 860.5752 | 18251.4 | 30341.04 | 27064.1718 | 2255.3476 | 28845.2555 | FLOOR R30 | 3363.0381 | 45.6 | 760 | 14777.9 | 74428.335 | 6202.3613 | 1653.7389 | 42358.8046 | 48520.2168 | 75354.7905 | 89186.317 | 2800 | 56029.8828 | 40979.6953 | 46984.1488 | 73388.3094 | 87033.8705 | 2800 | 54386.7844
[13 empty] | FLOOR R38 | 1921.44 | 14.56 | 473.2 | 30814.24 | 26604.202 | 2217.0168 | 459.9697 | CLASS 35 PRIME WINDOW (Energy Star) | 2421.6896 | 941.3485 | 19964.47 | 34742.37 | 41507.8209 | 3458.9851 | 32920.5141 | 40939.5839 | 46905.1861 | 73186.1412 | 86685.3794 | 2750 | 54271.3141 | 39566.5397 | 45393.9643 | 71250.7471 | 84558.0428 | 2750 | 52650.879
[13 empty] | ATTIC R49 | 1903.24 | 18.2 | 655.2 | 31469.44 | 26029.2399 | 2169.1033 | 574.9622 | FLOOR R38 | 2406.4896 | 15.2 | 494 | 35236.37 | 41001.4819 | 3416.7902 | 506.339 | 39520.2754 | 45292.0012 | 71025.8131 | 84194.6967 | 2700 | 52516.2438 | 38158.6288 | 43818.869 | 69119.7187 | 82099.0917 | 2700 | 50926.0445
Average Use of UnInsulated Pre-1979 Stock in 2025 | [12 empty] | INFILTRATION @ 0.35 ACH | 1732.888 | 170.352 | 6600 | 38069.44 | 20804.952 | 1733.746 | 5224.2879 | ATTIC R49 | 2395.7496 | 10.74 | 386.64 | 35623.01 | 40644.7351 | 3387.0613 | 356.7468 | 38103.4867 | 43699.3847 | 68873.5423 | 81713.8881 | 2650 | 50774.4697 | 36760.7091 | 42250.9522 | 66999.8828 | 79655.523 | 2650 | 49210.3648
Component | 10920 | 12492 | 11399.46 | 949.955 | [8 empty] | CLASS 25 PRIME WINDOW | 1624.588 | 108.3 | 5472 | 43541.44 | 17628.206 | 1469.0172 | 3176.7459 | INFILTRATION @ 0.35 ACH | 2215.8648 | 179.8848 | 6600 | 42223.01 | 34748.8681 | 2895.739 | 5895.867 | 36696.5426 | 42115.5582 | 66731.673 | 79244.5942 | 2600 | 49042.2356 | 35364.6938 | 40694.1987 | 64892.9974 | 77219.7187 | 2600 | 47504.2734
WALL R0 | 784.8254 | 1301.6616 | 942.4604 | [9 empty] | DOOR R5 | 1590.988 | 33.6 | 1801.2 | 45342.64 | 16666.7602 | 1388.8967 | 961.4459 | CLASS 25 PRIME WINDOW | 2097.3998 | 118.465 | 5985.6 | 48208.61 | 30927.6983 | 2577.3082 | 3821.1698 | 35292.3528 | 40538.3241 | 64604.4243 | 76782.3909 | 2550 | 47317.8582 | 33979.6074 | 39156.7243 | 62791.4738 | 74786.9616 | 2550 | 45811.5001
ATTIC R0 | 593.32 | 350.124 | 519.1452 | [17 empty] | DOOR R5 | 2030.1998 | 67.2 | 3602.4 | 51811.01 | 28787.2153 | 2398.9346 | 2140.483 | 33897.656 | 38969.499 | 62485.0278 | 74332.9329 | 2500 | 45602.1843 | 32608.2625 | 37627.2195 | 60695.7515 | 72363.6976 | 2500 | 44127.385
VAULT R0 | 0 | 327.627 | 99.9262 | [17 empty] | VAULT R38 | 2020.9448 | 9.255 | 610.83 | 52421.84 | 28494.8351 | 2374.5696 | 292.3802 | 32510.4307 | 37421.1544 | 60378.4354 | 71900.2637 | 2450 | 43902.2854 | 31246.2643 | 36104.395 | 58607.3835 | 69951.8898 | 2450 | 42450.8907
FLOOR R0 | 385.7237 | 402.6786 | 390.8949 | [17 empty] | VAULT R49 | 2015.3918 | 5.553 | 407.22 | 52829.06 | 28319.407 | 2359.9506 | 175.4281 | 31133.9877 | 35889.8037 | 58281.8635 | 69474.2748 | 2400 | 42215.879 | 29900.6153 | 34587.0788 | 56533.9877 | 67562.8479 | 2400 | 40785.3018
CLASS 120 WINDOW | 1248.1752 | 1365.3285 | 1283.9069 | [25 empty] | 29769.5576 | 34367.6238 | 56195.3706 | 67059.5957 | 2350 | 40539.5459 | 28572.2238 | 33081.1896 | 54469.5283 | 65186.1998 | 2350 | 39131.7316
DOOR R2.5 | 56.4 | 112.8 | 73.602 | [25 empty] | 28415.8512 | 32852.9153 | 54115.3238 | 64649.1943 | 2300 | 38870.9185 | 27257.3103 | 31590.6827 | 52404.8052 | 62826.7507 | 2300 | 37489.3422
INFILTRATION @ 0.45 ACH | 766.584 | 809.4816 | 779.6678 | [25 empty] | 27078.7577 | 31344.8579 | 52045.7662 | 62258.5995 | 2250 | 37212.552 | 25947.9344 | 30109.3173 | 50349.1943 | 60479.0507 | 2250 | 35855.4966
Total UA | 3835.0282 | 4669.7012 | 4089.6035 | [25 empty] | 25759.1855 | 29851.8019 | 49987.8113 | 59882.1272 | 2200 | 35568.7972 | 24659.7422 | 28641.84 | 48298.0662 | 58143.2464 | 2200 | 34234.5473
Mean Use (kwh/yr) | 93723.0863 | 123257.8403 | 102731.1862 | [25 empty] | 24451.5382 | 28375.0659 | 47928.8016 | 57527.2781 | 2150 | 33936.4049 | 23390.6534 | 27178.8456 | 46249.8682 | 55822.7073 | 2150 | 32621.1559
Mean Use/Unit | 7810.2572 | 10271.4867 | 8560.9322 | [25 empty] | 23157.0173 | 26903.9555 | 45878.6112 | 55185.8775 | 2100 | 32312.3279 | 22122.6194 | 25714.5327 | 44212.9505 | 53515.5289 | 2100 | 31010.8043
[29 empty] | 21889.3642 | 25449.8682 | 43831.7316 | 52862.6721 | 2050 | 30703.8734 | 20860.7384 | 24264.1371 | 42191.4738 | 51213.0091 | 2050 | 29412.7351
Average Use of Unweatherized Pre-1979 Stock in 2025 |  |  | Weighted | [25 empty] | 20631.6144 | 23995.1069 | 41795.3706 | 50552.593 | 2000 | 29100.3487 | 19605.9185 | 22833.1087 | 40196.5719 | 48925.4908 | 2000 | 27833.1556
Component | 10920 | 12492 | 11399.46 | 949.955 | [24 empty] | 19377.7615 | 22549.6338 | 39773.9818 | 48251.714 | 1950 | 27506.4503 | 18358.3358 | 21418.8983 | 38227.9519 | 46650.6885 | 1950 | 26270.6387
WALL R11 | 477.896 | 792.608 | 573.8832 | [25 empty] | 18131.7902 | 21119.8945 | 37769.206 | 45965.5435 | 1900 | 25926.884 | 17124.5532 | 20026.8972 | 36266.8913 | 44382.596 | 1900 | 24724.2118
ATTIC R38 | 141.96 | 83.772 | 124.2127 | [25 empty] | 16889.8623 | 19710.5772 | 35801.5529 | 43694.726 | 1850 | 24368.3856 | 15910.2842 | 18672.4582 | 34318.1365 | 42129.5634 | 1850 | 23204.2983
VAULT R19 | 0 | 88.848 | 27.0986 | [25 empty] | 15665.3091 | 18321.2716 | 33849.0771 | 41433.2259 | 1800 | 22827.6282 | 14718.6346 | 17339.6132 | 32384.4418 | 39887.2253 | 1800 | 21704.0053
FLOOR R19 | 149.24 | 155.8 | 151.2408 | [25 empty] | 14460.3282 | 16970.964 | 31908.0281 | 39187.2253 | 1750 | 21313.9159 | 13552.2707 | 16026.8386 | 30472.8977 | 37661.5294 | 1750 | 20225.1743
BASE CASE WINDOW - CLASS 120 | 1248.1752 | 1365.3285 | 1283.9069 | [25 empty] | 13282.9476 | 15654.351 | 29981.0724 | 36954.5561 | 1700 | 19826.7609 | 12426.2233 | 14732.9329 | 28578.787 | 35463.0823 | 1700 | 18769.562
DOOR R2.5 | 56.4 | 112.8 | 73.602 | [25 empty] | 12135.189 | 14354.5561 | 28075.7984 | 34735.3941 | 1650 | 18360.0352 | 11339.0858 | 13468.1805 | 26716.7594 | 33281.9514 | 1650 | 17345.1948
INFILTRATION @ 0.45 ACH | 766.584 | 809.4816 | 779.6678 | [25 empty] | 11024.4946 | 13079.9883 | 26192.8802 | 32539.8769 | 1600 | 16920.1069 | 10278.5526 | 12240.8731 | 24896.191 | 31133.4017 | 1600 | 15956.8649
Total UA | 2840.2552 | 3408.6381 | 3013.612 | [25 empty] | 9955.816 | 11841.4884 | 24336.947 | 30367.0964 | 1550 | 15514.499 | 9277.1462 | 11047.8758 | 23119.3085 | 29011.2218 | 1550 | 14609.7553
Mean Use (kwh/yr) | 57452.1669 | 76082.0739 | 63134.2885 | [25 empty] | 8926.5163 | 10638.8808 | 22527.0437 | 28233.5482 | 1500 | 14148.182 | 8317.5798 | 9901.2013 | 21365.8951 | 26909.1122 | 1500 | 13301.046
Mean Use/Unit | 4787.6806 | 6340.1728 | 5261.1907
Average Use @ Cost Effective UA in 2025 |  | Cost | Weighted
Component | 10920 | 12492 | 11399.46
Wall R11 | 477.896 | 792.608 | 573.8832
ATTIC R38 | 141.96 | 83.772 | 124.2127
VAULT R19 | 0 | 88.848 | 27.0986
FLOOR R30 | 105.56 | 110.2 | 106.9752
CLASS 35 PRIME WINDOW (Energy Star) | 387.6 | 423.98 | 398.6959
DOOR R2.5 | 56.4 | 112.8 | 73.602
INFILTRATION @ 0.45 ACH | 766.584 | 809.4816 | 779.6678
Total UA | 1936 | 2421.6896 | 2084.1353
Mean Use (kwh/yr) | 27064.1718 | 41507.8209 | 31469.4848
Mean Use/Unit | 2255.3476 | 3458.9851 | 2622.4571 | 2638.7336
Cost-Effective UA | 1936 | 2421.6896 | 2084.1353
Change in UA | 363.062 | 422.4581 | 381.1778
Pre-Retrofit UA | 2299.062 | 2844.1477 | 2465.3132
Incremental Cost
Component | Share of ResWx Measures Installed | 10920 | 12492 | 11399.46 | Weighted Avg. Cost/Unit
ATTIC R38 | 24.51% | 1201.2 | 1319.67 | 1237.3334 | 103.1111
FLOOR R19 | 13.8% | 2912 | 3040 | 2951.04 | 245.92
FLOOR R30 | 12.5% | 728 | 760 | 737.76 | 61.48
WALL R11 | 21.15% | 4118.04 | 6829.92 | 4945.1634 | 412.0969
CLASS 35 PRIME WINDOW (Energy Star) | 28.04% | 18251.4 | 19964.47 | 18773.8864 | 1564.4905
UA of Retrofitted Components | 100% | 6776.175 | 7880.8317 | 7113.0953 | 592.7579
Incremental Savings - Zone 1
|  | 10920 | 12492 | 11399.46 | Weighted Avg. Savings/Unit
|  | 2496.644 | 1512.5645 | 2196.4997 | 183.0416
|  | 7978.6845 | 8589.3703 | 8164.9437 | 680.412
|  | 1421.4412 | 1528.1561 | 1453.9893 | 121.1658
|  | 10160.4129 | 17350.18 | 12353.2919 | 1029.441
|  | 26509.2505 | 30354.792 | 27682.1407 | 2306.8451
|  | 11473.1208 | 13928.5762 | 12222.0347 | 1018.5029
Incremental Savings - Zone 2
|  | 10920 | 12492 | 11399.46 | Weighted Avg. Savings/Unit
|  | 3279.9035 | 3906.63 | 3471.0551 | 289.2546
|  | 10311.1078 | 10962.8719 | 10509.8958 | 875.8247
|  | 1865.8474 | 1974.767 | 1899.0679 | 158.2557
|  | 13231.358 | 22348.5085 | 16012.0889 | 1334.3407
|  | 35312.2693 | 39812.6693 | 36684.8913 | 3057.0743
|  | 15160.5076 | 18608.0067 | 16211.9948 | 1350.9996
Incremental Savings - Zone 3
|  | 10920 | 12492 | 11399.46 | Weighted Avg. Savings/Unit
|  | 3847.8322 | 4629.5914 | 4086.2688 | 340.5224
|  | 12190.0877 | 12934.9649 | 12417.2753 | 1034.7729
|  | 2194.5851 | 2337.0112 | 2238.025 | 186.5021
|  | 15600.4138 | 26400.5957 | 18894.4692 | 1574.5391
|  | 41403.4256 | 46813.4895 | 43053.4951 | 3587.7913
|  | 17809.1901 | 21922.784 | 19063.8362 | 1588.653
Incremental Savings - PNW Region
|  | 10920 | 12492 | 11399.46 | Weighted Avg. Savings/Unit
|  | 2710.0745 | 3272.8177 | 2881.7112 | 240.1426
|  | 8634.3505 | 9276.2063 | 8830.1165 | 735.843
|  | 1542.7397 | 1653.7389 | 1576.5944 | 131.3829
|  | 11015.6152 | 18770.8636 | 13380.9659 | 1115.0805
|  | 28845.2555 | 32920.5141 | 30088.2094 | 2507.3508
|  | 12466.9977 | 15490.4362 | 13389.1464 | 1115.7622
Incremental Savings CASE => PNW Region
|  | 10920 | 12492 | 11399.46 | Weighted Avg. Savings/Unit
|  | 2710.0745 | 3272.8177 | 2881.7112 | 240.1426
|  | 8634.3505 | 9276.2063 | 8830.1165 | 735.843
|  | 1542.7397 | 1653.7389 | 1576.5944 | 131.3829
|  | 11015.6152 | 18770.8636 | 13380.9659 | 1115.0805
|  | 28845.2555 | 32920.5141 | 30088.2094 | 2507.3508
|  | 12466.9977 | 15490.4362 | 13389.1464 | 1115.7622

## Cost-Effectiveness Level
Select Climate Zone | [9 empty] | Weighted
Location Climate Data | Portland | Seattle | Spokane | Missoula |  |  | Avg. Unit Size | 910 | 1041 | 949.955
Case Weights => | 20% | 50% | 25% | 5% | 100% |  | Prototype Size => | 10920 | 12492 | 11399.46
Heating Zone Weight Data | [6 empty] | Prototype Weights => | 69.5% | 30.5% | 100%
Heating Zone 1 | 40% | 45% | 15% | 0% | 100%
Heating Zone 2 | 0% | 7% | 93% | 0% | 100%
Heating Zone 3 | 0% | 0% | 0% | 100% | 100%
PNW Region | 20% | 50% | 25% | 5% | 100%
Portland | 100% | 0% | 0% | 0% | 100%
Seattle | 0% | 100% | 0% | 0% | 100%
Boise | 0% | 44% | 56% | 0% | 100%
Spokane | 0% | 0% | 100% | 0% | 100%
Missoula | 0% | 0% | 0% | 100% | 100% | [6 empty] | Select Cost and Saving Method =>
4 | 1 | 2 | 3 | 4 | [13 empty] | Prototype Measure Optimization
C&RD Measure Reports
*After selecting "Case", Procost must be re-run to update cost-effectiveness calculation for selected case. | [17 empty] | 2
This section calculates the cost-effective UA for weatherization
| Building UA |  | Annual Use/Unit (kWh/yr)) |  |  | Annual Savings/Unit (kWh/yr) |  |  | Cost/Unit Using UA vs Cumulative Cost Curve Fit |  |  | Remaining Potential in "UnWeatherized" Pre-1979 Stock, in 2025
Cost Effective UA & Use | 10920 | 12492 | 10920 | 12492 | Weighted Average 11399 | 10920 | 12492 | Weighted Average 11399 | 10920 | 12492 | Weighted Average 11399 | Location | Pre-Weatherization Use (kWh/yr) | Post Weatherization Use (kWh/yr) | Savings (kWh/yr) | Incremental Cost (2000$) | To Update this table, "Copy>Paste Special>Formulas" N30:Q30 to N21:Q29. Then select each climate zone/location in cell B1. Re-Run Procost and then "Copy>Paste Special>Values" across columns N:Q for data on the line for the climate zone/location case selected. Repeat process until all locations have been updated and changed to values.
Average UA & Use of UnInsulated Pre-1979 Stock in 2000 | 3835.0282 | 4669.7012 | 7810.2572 | 10271.4867 | 8560.9322 | [6 empty] | Heating Zone 1 | 3252.93 | 2290.769 | 962.1609 | 880.2633
Pre-Weatherization UA & Use w/100% Measures | 2840.2552 | 3408.6381 | 4787.6806 | 6340.1728 | 5261.1907 | 3022.5766 | 3931.3139 | 3299.7415 | 825.5449 | 822.291 | 824.5525 | Heating Zone 2 | 4911.4572 | 3622.1775 | 1289.2797 | 880.2633
Pre-Weaherization UA & Use Adj. For C&RD | 2299.062 | 2844.1477 | 3236.6507 | 4660.6283 | 3670.9639 | 1551.0299 | 1679.5445 | 1590.2268 | 1672.2801 | 1796.6762 | 1710.2209 | Heating Zone 3 | 5949.9768 | 4444.0509 | 1505.9259 | 895.1328
Case Cost Effective UA & Use of Weatherized Unit=> | 1936 | 2421.6896 | 2255.3476 | 3458.9851 | 2622.4571 | 981.3031 | 1201.6432 | 1048.5068 | 2499.3894 | 2798.0607 | 2590.4842 | PNW Region | 3670.9639 | 2622.4571 | 1048.5068 | 880.2633
| 10920 |  | 12492 |  |  | Incremental Cost for ResWX => |  |  | 827.1093 | 1001.3845 | 880.2633 | Portland | 2717.7177 | 1876.9003 | 840.8173 | 880.2633
| UA | CE? | UA | CE? | [7 empty] | Seattle | 3131.165 | 2178.6315 | 952.5335 | 880.2633
| 3460.1082 | FALSE | 4430.9222 | FALSE | [7 empty] | Boise | 4203.1689 | 3047.8635 | 1155.3054 | 880.2633
| 3223.6245 | FALSE | 4209.6782 | FALSE | [7 empty] | Spokane | 5045.4577 | 3730.8315 | 1314.6262 | 880.2633
| 2916.6952 | FALSE | 3962.7996 | FALSE | [7 empty] | Missoula | 5949.9768 | 4444.0509 | 1505.9259 | 895.1328
| 2840.2552 | FALSE | 3453.7461 | FALSE | [7 empty] | CASE => PNW Region | 3670.9639 | 2622.4571 | 1048.5068 | 880.2633
| 2796.5752 | FALSE | 3408.6381 | FALSE
| 1936 | TRUE | 3363.0381 | FALSE | [7 empty] | Remaining Potential in "UnWeatherized" Pre-1979 Stock, in 2025 with Cost and Savings based on Measures Reported in C&RD for FY02
| 1936 | FALSE | 2421.6896 | TRUE
| 1921.44 | FALSE | 2421.6896 | FALSE | [7 empty] | Location | Pre-Weatherization Use (kWh/yr) | Post Weatherization Use (kWh/yr) | Savings (kWh/yr) | Incremental Cost (2000$)
| 1903.24 | FALSE | 2406.4896 | FALSE | [7 empty] | Heating Zone 1 | 3309.2719 | 2290.769 | 1018.5029 | 592.7579
| 1732.888 | FALSE | 2395.7496 | FALSE | [7 empty] | Heating Zone 2 | 4973.1771 | 3622.1775 | 1350.9996 | 592.7579
| 1624.588 | FALSE | 2215.8648 | FALSE | [7 empty] | Heating Zone 3 | 6032.7039 | 4444.0509 | 1588.653 | 592.7579
| 1590.988 | FALSE | 2097.3998 | FALSE | [7 empty] | PNW Region | 3738.2193 | 2622.4571 | 1115.7622 | 592.7579
|  |  | 2030.1998 | FALSE | [7 empty] | CASE => PNW Region | 3738.2193 | 2622.4571 | 1115.7622 | 592.7579
|  |  | 2020.9448 | FALSE
|  |  | 2015.3918 | FALSE
This section calculates the cumulative incremental cost/unit of achieving the cost-effective UA.
Prototype | 10920 |  | 12492 |  | Weighted Average
Incremental Cost over "UnInsulated Pre-1979" Unit @ CE UA | 2528.42 |  | 2895.1975 |  | 2640.2871
Incremental Cost over "UnWeatherized Pre-1979" Unit @ CE UA | 1702.8751 |  | 2072.9065 |  | 1815.7346
| 3130.4 | FALSE | 1591.86 | FALSE
| 6042.4 | FALSE | 3439.14 | FALSE
| 10160.44 | FALSE | 6479.14 | FALSE
| 11361.64 | FALSE | 13309.06 | FALSE
| 12089.64 | FALSE | 14017.9 | FALSE
| 30341.04 | TRUE | 14777.9 | FALSE
| 30341.04 | FALSE | 34742.37 | TRUE
| 30814.24 | FALSE | 34742.37 | FALSE
| 31469.44 | FALSE | 35236.37 | FALSE
| 38069.44 | FALSE | 35623.01 | FALSE
| 43541.44 | FALSE | 42223.01 | FALSE
| 45342.64 | FALSE | 48208.61 | FALSE
|  |  | 51811.01 | FALSE
|  |  | 52421.84 | FALSE
|  |  | 52829.06 | FALSE
Prototype Weights => |  | 69.5% |  | 30.5%
| 10920 |  | 12492 |  | Weighted Average
| UA | Building Use (kWh/yr) | UA | Building Use (kWh/yr) | UA | Use /Bldg | Use /Unit
| 5000 | 138199.0536 | 5000 | 135924.2836 | 5000 | 137505.2488 | 11458.7707
| 4950 | 136263.9071 | 4950 | 134000.4703 | 4950 | 135573.5589 | 11297.7966
| 4900 | 134331.6877 | 4900 | 132079.6733 | 4900 | 133644.8233 | 11137.0686
| 4850 | 132400.7354 | 4850 | 130161.6847 | 4850 | 131717.825 | 10976.4854
| 4800 | 130471.1617 | 4800 | 128245.6387 | 4800 | 129792.3772 | 10816.0314
| 4750 | 128545.4541 | 4750 | 126329.9531 | 4750 | 127869.7263 | 10655.8105
| 4700 | 126622.3967 | 4700 | 124416.4459 | 4700 | 125949.5817 | 10495.7985
| 4650 | 124701.7946 | 4650 | 122504.4799 | 4650 | 124031.6136 | 10335.9678
| 4600 | 122783.598 | 4600 | 120594.1781 | 4600 | 122115.8249 | 10176.3187
| 4550 | 120867.7908 | 4550 | 118686.8254 | 4550 | 120202.5963 | 10016.883
| 4500 | 118954.3202 | 4500 | 116781.9191 | 4500 | 118291.7379 | 9857.6448
| 4450 | 117043.1175 | 4450 | 114879.2734 | 4450 | 116383.145 | 9698.5954
| 4400 | 115132.9036 | 4400 | 112978.2523 | 4400 | 114475.7349 | 9539.6446
| 4350 | 113224.2236 | 4350 | 111079.4609 | 4350 | 112570.0709 | 9380.8392
| 4300 | 111317.5564 | 4300 | 109182.3308 | 4300 | 110666.3126 | 9222.1927
| 4250 | 109413.0735 | 4250 | 107289.6601 | 4250 | 108765.4324 | 9063.786
| 4200 | 107512.7058 | 4200 | 105399.7304 | 4200 | 106868.2483 | 8905.6874
| 4150 | 105615.1538 | 4150 | 103513.0428 | 4150 | 104974.01 | 8747.8342
| 4100 | 103719.7143 | 4100 | 101631.0343 | 4100 | 103082.6669 | 8590.2222
| 4050 | 101825.8995 | 4050 | 99752.1887 | 4050 | 101193.4177 | 8432.7848
| 4000 | 99934.5634 | 4000 | 97878.2992 | 4000 | 99307.4028 | 8275.6169
| 3950 | 98048.075 | 3950 | 96011.4459 | 3950 | 97426.9031 | 8118.9086
| 3900 | 96164.3671 | 3900 | 94149.2543 | 3900 | 95549.7577 | 7962.4798
| 3850 | 94284.6045 | 3850 | 92289.9619 | 3850 | 93676.2385 | 7806.3532
| 3800 | 92409.3495 | 3800 | 90434.5312 | 3800 | 91807.03 | 7650.5858
| 3750 | 90539.4843 | 3750 | 88585.5538 | 3750 | 89943.5355 | 7495.2946
| 3700 | 88678.3387 | 3700 | 86739.1943 | 3700 | 88086.8996 | 7340.575
| 3650 | 86821.5617 | 3650 | 84897.5286 | 3650 | 86234.7316 | 7186.2276
| 3600 | 84969.2338 | 3600 | 83059.5957 | 3600 | 84386.7942 | 7032.2328
| 3550 | 83121.3742 | 3550 | 81226.443 | 3550 | 82543.4202 | 6878.6183
| 3500 | 81279.0067 | 3500 | 79400.5728 | 3500 | 80706.0844 | 6725.507
| 3450 | 79440.5333 | 3450 | 77582.2517 | 3450 | 78873.7574 | 6572.8131
| 3400 | 77606.5939 | 3400 | 75768.7753 | 3400 | 77046.0592 | 6420.5049
| 3350 | 75776.8078 | 3350 | 73955.504 | 3350 | 75221.3101 | 6268.4425
| 3300 | 73951.5324 | 3300 | 72148.1907 | 3300 | 73401.5132 | 6116.7928
| 3250 | 72132.9197 | 3250 | 70348.932 | 3250 | 71588.8035 | 5965.7336
| 3200 | 70322.4055 | 3200 | 68554.7378 | 3200 | 69783.2668 | 5815.2722
| 3150 | 68515.5494 | 3150 | 66764.5253 | 3150 | 67981.487 | 5665.1239
| 3100 | 66713.7225 | 3100 | 64979.3803 | 3100 | 66184.7482 | 5515.3957
| 3050 | 64917.5359 | 3050 | 63198.5189 | 3050 | 64393.2357 | 5366.103
| 3000 | 63129.3745 | 3000 | 61422.0378 | 3000 | 62608.6368 | 5217.3864
| 2950 | 61345.6827 | 2950 | 59653.9042 | 2950 | 60829.6902 | 5069.1409
| 2900 | 59569.0009 | 2900 | 57889.9707 | 2900 | 59056.8967 | 4921.4081
| 2850 | 57796.4679 | 2850 | 56131.7858 | 2850 | 57288.7399 | 4774.0617
| 2800 | 56029.8828 | 2800 | 54386.7844 | 2800 | 55528.7378 | 4627.3948
| 2750 | 54271.3141 | 2750 | 52650.879 | 2750 | 53777.0814 | 4481.4234
| 2700 | 52516.2438 | 2700 | 50926.0445 | 2700 | 52031.233 | 4335.9361
| 2650 | 50774.4697 | 2650 | 49210.3648 | 2650 | 50297.4177 | 4191.4515
| 2600 | 49042.2356 | 2600 | 47504.2734 | 2600 | 48573.1571 | 4047.7631
| 2550 | 47317.8582 | 2550 | 45811.5001 | 2550 | 46858.419 | 3904.8682
| 2500 | 45602.1843 | 2500 | 44127.385 | 2500 | 45152.3705 | 3762.6975
| 2450 | 43902.2854 | 2450 | 42450.8907 | 2450 | 43459.61 | 3621.6342
| 2400 | 42215.879 | 2400 | 40785.3018 | 2400 | 41779.5529 | 3481.6294
| 2350 | 40539.5459 | 2350 | 39131.7316 | 2350 | 40110.1625 | 3342.5135
| 2300 | 38870.9185 | 2300 | 37489.3422 | 2300 | 38449.5378 | 3204.1281
| 2250 | 37212.552 | 2250 | 35855.4966 | 2250 | 36798.6501 | 3066.5542
| 2200 | 35568.7972 | 2200 | 34234.5473 | 2200 | 35161.851 | 2930.1543
| 2150 | 33936.4049 | 2150 | 32621.1559 | 2150 | 33535.254 | 2794.6045
| 2100 | 32312.3279 | 2100 | 31010.8043 | 2100 | 31915.3632 | 2659.6136
| 2050 | 30703.8734 | 2050 | 29412.7351 | 2050 | 30310.0762 | 2525.8397
| 2000 | 29100.3487 | 2000 | 27833.1556 | 2000 | 28713.8548 | 2392.8212
| 1950 | 27506.4503 | 1950 | 26270.6387 | 1950 | 27129.5278 | 2260.794
| 1900 | 25926.884 | 1900 | 24724.2118 | 1900 | 25560.069 | 2130.0057
| 1850 | 24368.3856 | 1850 | 23204.2983 | 1850 | 24013.339 | 2001.1116
| 1800 | 22827.6282 | 1800 | 21704.0053 | 1800 | 22484.9232 | 1873.7436
| 1750 | 21313.9159 | 1750 | 20225.1743 | 1750 | 20981.8497 | 1748.4875
| 1700 | 19826.7609 | 1700 | 18769.562 | 1700 | 19504.3152 | 1625.3596
| 1650 | 18360.0352 | 1650 | 17345.1948 | 1650 | 18050.5089 | 1504.2091
| 1600 | 16920.1069 | 1600 | 15956.8649 | 1600 | 16626.3181 | 1385.5265
| 1550 | 15514.499 | 1550 | 14609.7553 | 1550 | 15238.5522 | 1269.8793
| 1500 | 14148.182 | 1500 | 13301.046 | 1500 | 13889.8055 | 1157.4838
Note on A22: Tom Eckman: This row assumes that the baseline home is missing all measures.
Note on A23: Tom Eckman: This row assumes that the home is only missing the proportion of measures observed as the "pre" weatherization level of insulation based on the square footage reported in C&R D for FY02

## LookupTable
Technology, Measure or Practice | Delivery Mechanism or Program | Application | Location
Multifamily Weatherization - Heating Zone 1 | Insulation must be installed in substantial compliance with WeatherWise Specifications | Multifamily dwelling unit in buildings with more than 4 units w/Electric Heat | Heating Zone 1
Multifamily Weatherization - Heating Zone 2 | Insulation must be installed in substantial compliance with WeatherWise Specifications | Multifamily dwelling unit in buildings with more than 4 units w/Electric Heat | Heating Zone 2
Multifamily Weatherization - Heating Zone 3 | Insulation must be installed in substantial compliance with WeatherWise Specifications | Multifamily dwelling unit in buildings with more than 4 units w/Electric Heat | Heating Zone 3
Multifamily Weatherization - PNW Average Climate | Insulation must be installed in substantial compliance with WeatherWise Specifications | Multifamily dwelling unit in buildings with more than 4 units w/Electric Heat | PNW Average Climate

## ResWX Base Case
C&R D Total Units (sq.ft.) | Share of Area | Measure Description
23529.2 | 28.04% | Energy Star Prime Window Replacement (Cost & Savings are per square foot of windows replaced) - Heating Zone 1
17747.5 | 21.15% | R0 - R11 Wall Insulation (Cost & Savings are per square foot of area insulated) - Heating Zone 1
11578 | 13.8% | R0 - R19 Floor insulation (Cost & Savings are per square foot of floor area insulated) - Heating Zone 1
10488 | 12.5% | R19 - R30 Floor insulation (Cost & Savings are per square foot of floor area insulated) - Heating Zone 1
20566 | 24.51% | R19 - R38 Attic insulation (Cost & Savings are per square foot of attic area insulated) - Heating Zone 1
83908.7 | 100%