## Intro
Seventh Plan Conservation Measure List
Version | Date | Description
V1 | 2014-10-03 | Initial preliminary list of measures to be considered for the Seventh Plan.
V2 | 2014-10-09 | Added columns to indicate if measure is RTF UES, impacted by standards/stock assessment/SEEM
V3 | 2014-10-14 | Two additional ag measures included: convert high-> low P systems and install VSD on irr pumps
V3 | 2014-10-14 | Corrected DHP w/ FAF to only apply MH & SF

## Residential
End Use | Category Name | Measure Name | Measure Details | Baseline | Segment | Vintage | New from 6P? | UES Measure? | Pending Standard? | RBSA Inform? | Uses SEEM?
Dryers | Dryers | Clothes Dryer | Heat pump dryer | Standard Dryer | All | All | x |  | x | x
Electronics | Computer Technologies | Display | ENERGY STAR Monitor | Std Monitor | All | All |  |  |  | x
Electronics | Computer Technologies | Desktop Computer | ENERGY STAR Computer | Std Computer | All | All |  |  |  | x
Electronics | Plug Load | Power Strips | Advanced Power Strips | Standard Outlet | All | All | x | x |  | x
Food Preparation | Cooking | Oven | Efficient Oven | Fed Std 2012 | All | All |  |  |  | x
Food Preparation | Cooking | Microwave | Efficient Microwave | Fed Std 2016 | All | All |  |  | x
HVAC | Envelope | Insulation | Attic Insulation | Low/No insulation | All | Existing |  | x |  | x | x
HVAC | Envelope | Insulation | Wall Insulation | Low/No insulation | All | Existing |  | x |  | x | x
HVAC | Envelope | Insulation | Floor Insulation | Low/No insulation | All | Existing |  | x |  | x | x
HVAC | Envelope | Insulation | Windows | Single/Double Pane | All | Existing |  | x |  | x | x
HVAC | Envelope | Insulation | Infiltration | High leakage | All | Existing |  | x |  | x | x
HVAC | Envelope | Insulation | Attic Insulation | Code-avg | All | New |  | x |  |  | x
HVAC | Envelope | Insulation | Wall Insulation | Code-avg | All | New |  | x |  |  | x
HVAC | Envelope | Insulation | Floor Insulation | Code-avg | All | New |  | x |  |  | x
HVAC | Envelope | Insulation | Windows | Code-avg | All | New |  | x |  |  | x
HVAC | Envelope | Insulation | Infiltration | Code-avg | All | New |  | x |  |  | x
HVAC | Heat Recovery | Heat Recovery Improvements | HRV | Natural Ventilation | All | New |  | x |  |  | x
HVAC | HVAC System | Variable Speed Heat Pumps | VS ASHP 12.0 HSPF/18 SEER + PTCS | 8.5HSPF/14SEER | All | All | x | x | x | x | x
HVAC | HVAC System | Air Source Heat Pump | ASHP 9.0 HSPF/14 SEER | 8.5HSPF/14SEER | All | All |  | x | x | x | x
HVAC | HVAC System | Air Source Heat Pump | ASHP 8.5 HSPF/14 SEER | Electric FAF | All | Existing |  | x |  | x | x
HVAC | HVAC System | Ductless Heat Pump | DHP 9.5 HSPF | Zonal | All | Existing |  | x |  | x | x
HVAC | HVAC System | Ductless Heat Pump | DHP 9.5 HSPF | Electric FAF | SF,MH | Existing | x |  |  | x | x
HVAC | HVAC System | Duct Sealing | PTCS-level sealing | Leaky ducts | All | Existing |  | x |  | x | x
HVAC | HVAC System | Furnace Fan | BPM motor | PSC motor | All | All | x |  |  | x | x
HVAC | HVAC System | Whole House Fan | Whole House Fan | No Fan | All | All | x |  |  |  | x
HVAC | HVAC System Controls | Thermostats | WIFI enabled tstats | Manual thermostat | All | Existing | x |  |  | x | x
HVAC/Water Heating | HVAC System/Water Heaters | Combo DHP/HPWH units | DHP + HPWH | ER space heat/0.95 EF WH | SF | All | x |  | x | x | x
Lighting | Lamps/Fixtures | Lamps | LED/CFL Standard | EISA 2014 & 2020 | All | All |  | x | x | x
Lighting | Lamps/Fixtures | Lamps | LED/CFL Specialty | Incandescent | All | All |  | x |  | x
Lighting | Lighting Controls | Lighting Controls | Daylighting/Occ Sensors | No Controls | All | All |  |  |  | x
Motors/Drives | Motors/Drives Controls | Motors/Drives Control Improvements (VFD) | VSD Pump for well water | Single-Speed Motor | All | All | x
Refrigeration | Freezers | Freezers | ENERGY STAR freezer | Fed Std 2014 | All | All |  | x | x | x
Refrigeration | Refrigerators | Refrigerators | ENERGY STAR fridge | Fed Std 2014 | All | All |  | x | x | x
Water Heating | Pipe Insulation | Pipe Insulation | R4 insulation | No Insulation | All | Existing | x
Water Heating | Water Heaters | Drain Water Heat Recovery | Heat recovery unit | No Heat Recovery | SF,MF | New
Water Heating | Water Heaters | Heat Pump Water Heaters | HPWH Tier 1 | 0.95 EF WH | All | All |  | x | x | x
Water Heating | Water Heaters | Solar Water Heaters | SRCC certified SWH | Standard WH | SF | All |  |  |  | x
Water Heating | Water Using Devices | Dishwashers | ENERGY STAR Dishwasher | Fed Std 2013 | All | All |  | x |  | x
Water Heating | Water Using Devices | Clothes Washers | ENERGY STAR Clothes Washer | Fed Std 2015 | All | All |  | x | x | x
Water Heating | Water Using Devices | Showerheads | 1.5 GPM | 2.5 GPM | All | All |  | x |  | x
Water Heating | Water Using Devices | Aerators | 1.0 GPM | 2.5 GPM | All | All | x
Whole Bldg/Meter Level | Whole Bldg/Meter Level System Improvements | Photovoltaics | PV system | No PV system | SF | All
Whole Bldg/Meter Level | Whole Bldg/Meter Level System Improvements | Behavioral | Home Energy Reports | No Report | All | All | x
Whole Bldg/Meter Level | Whole Bldg/Meter Level System Improvements | Automation | Smart Devices | Standard Home | SF | All | x

## Commercial
End Use | Category Name | Measure Name | Measure Details | Baseline | Segment | Vintage | LO/Retro | New from 6P? | UES Measure? | Pending Standard? | CBSA Inform? | Uses Building Modeling Data
Compressed Air | Compressed Air System Controls | Compressed Air Controls | Compressed Air Controls | CBSA 2014 | Some |  | Retro | x
Compressed Air | Compressed Air System Improvements | Compressed Air Improvements | Compressed Air Improvements | CBSA 2014 | Some |  | Retro | x
Electronics | Computer Technologies | Network PC Power Management | Network PC Power Management | CBSA 2014 | All |  | Retro |  | x |  | x
Electronics | Computer Technologies | Computer Servers and IT | Computer Servers and IT | CBSA 2014 | All |  | Retro |  |  |  | x
Electronics | Plug Load | Smart Plug Power Strips | Smart Plug Power Strips | CBSA 2014 | All |  | Retro | x | x |  | x
Electronics | Computer Technologies | Data Centers | Data Centers | CBSA 2014 | All |  | Retro | x |  |  | x
Electronics | Computer Technologies | Average Commercial Computer Monitor | Average Commercial Computer Monitor | Std Monitor | All |  | Retro |  |  |  | x
Electronics | Computer Technologies | Average Commercial Computer | Average Commercial Computer | Std Computer | All |  | Retro |  |  |  | x
Food Preparation | Water Using Devices | Pre-Rinse Spray Wash | Pre-Rinse Spray Wash | CBSA 2014 | Some |  | Retro |  | x |  | x
Food Preparation | Cooking | Cooking Equipment | Cooking Equipment | CBSA 2014 | All |  | New |  | x |  | x
HVAC | HVAC System Improvements | Premium HVAC Equipment | Premium HVAC Equipment | CBSA 2014 | All |  | New |  |  | x | x
HVAC | Envelope | Glass | Windows | CBSA 2014 | All |  | New |  |  |  | x
HVAC | HVAC System Improvements | Package Roof Top Optimization and Repair | Package Roof Top Optimization and Repair | CBSA 2014 | Most |  | New |  |  |  | x
HVAC | Envelope | Variable Speed Chiller | Variable Speed Chiller | CBSA 2014 | Some |  | New |  |  |  | x
HVAC | Whole Bldg/Meter Level System Improvements | Commercial SEM | Commercial SEM | CBSA 2014 | All |  | New |  |  |  | x
HVAC | HVAC System Improvements | Evaporative Assist Cooling | Evaporative Assist Cooling | CBSA 2014 | Some |  | New |  |  |  | x
HVAC | HVAC System Improvements | Low Pressure Distribution Complex HVAC | Low Pressure Distribution Complex HVAC | CBSA 2014 | Some |  | New |  |  |  | x
HVAC | HVAC System Controls | Demand Control Ventilation | Demand Control Ventilation | CBSA 2014 | All |  | New |  |  |  | x | x
HVAC | Pumps and Fans | Premium Fume Hood | Premium Fume Hood | CBSA 2014 | Some |  | New |  |  |  | x
HVAC | Pumps and Fans | DCV Restaurant Hood | DCV Restaurant Hood | CBSA 2014 | Restaurant |  | Retro
HVAC | Pumps and Fans | DCV Parking Garage | DCV Parking Garage | CBSA 2014 | All |  | Retro | x
HVAC | Envelope | Weatherization - School | Weatherization - School | CBSA 2014 | K-12 |  | Retro | x | x |  | x
HVAC | Heat Recovery | Energy Recovery Ventilator | Energy Recovery Ventilator | CBSA 2014 | All |  | NR | x |  |  | x
HVAC | Heat Recovery | AC Heat Recovery for Water Heating | AC Heat Recovery for Water Heating | CBSA 2014 | All |  | NR | x |  |  | x
HVAC | Whole Bldg/Meter Level System Improvements | Room Occupancy Sensors in Lodging | Room Occupancy Sensors in Lodging | CBSA 2014 | Lodging |  | Retro | x |  |  | x
HVAC | HVAC System Improvements | Chiller - chilled water retrofit | Chiller - chilled water retrofit | CBSA 2014 | Some |  | Retro | x |  |  | x
HVAC | HVAC System Improvements | Chiller - equip retrofits | Chiller - equip retrofits | CBSA 2014 | Some |  | Retro | x |  |  | x
HVAC | Pool System Improvements | Pool Blankets | Pool Blankets | CBSA 2014 | Some |  | Retro | x
HVAC | HVAC System Controls | Web-Enabled Thermostats | Web-Enabled Thermostats | CBSA 2014 | Some |  | Retro | x |  |  | x
HVAC | HVAC System Controls | Garage CO2 ventilation | Garage CO2 ventilation | CBSA 2014 | Some |  | Retro | x |  |  | x
HVAC | Pumps and Fans | Circ Pump ECM and drive | Circ Pump ECM and drive | CBSA 2014 | Some |  | Retro | x |  |  | x
HVAC | HVAC System Improvements | Variable Capacity Heat Pump | Variable Capacity Heat Pump | CBSA 2014 | Some |  | Retro | x |  |  | x
HVAC | Envelope | Cool Roofs | Cool Roofs | CBSA 2014 | All |  | Retro | x |  |  | x
HVAC | HVAC System Improvements | Evaporator Roof Top HVAC | Evaporator Roof Top HVAC | CBSA 2014 | Some |  | Retro | x |  |  | x
HVAC | Envelope | Secondary Glazing Systems | Secondary Glazing Systems | CBSA 2014 | All |  | Retro | x |  |  | x
Lighting | Lamps/Ballasts/Fixtures | LPD Package | Lighting Power Density | CBSA 2014 | All |  | New |  |  | x | x
Lighting | Whole Bldg/Meter Level System Improvements | Top Daylighting | Daylighting with Skylights | CBSA 2014 | All |  | New |  |  |  | x
Lighting | Whole Bldg/Meter Level System Improvements | Perimeter Daylighting Controls Advanced | Daylighting with Windows | CBSA 2014 | All |  | New |  |  |  | x
Lighting | Lighting Controls | Lighting Controls Interior | Lighting Controls Interior | CBSA 2014 | All |  | New |  |  |  | x
Lighting | HVAC System Improvements | Exterior Building Lighting | Exterior Building Lighting | CBSA 2014 | All |  | NR |  |  |  | x
Lighting | Lamps/Ballasts/Fixtures | Street and Roadway Lighting | Street and Roadway Lighting | CBSA 2014 | Non-Building |  | NR
Lighting | Lamps/Ballasts/Fixtures | Parking Lighting | Parking Lighting | CBSA 2014 | All |  | NR |  |  |  | x
Lighting | Lighting Controls | Luminaire Level Lighting Controls | Luminaire Level Lighting Controls | CBSA 2014 | All |  | Retro | x |  |  | x
Motors/Drives | Motors | ECM on VAV Boxes | ECM Motors on Variable Air Volume Boxes | CBSA 2014 | All |  | New |  |  |  | x
Motors/Drives | Pool System Improvements | Pool pumps | Pool pumps | CBSA 2014 | Some |  | Retro | x |  | x | x
Motors/Drives | Motors | Switched Reluctance/Permanent Magnet Motors | Switched Reluctance/Permanent Magnet Motors | CBSA 2014 | All |  | Retro | x
Motors/Drives | Motors | Motors - Rewind | Motors - Rewind | CBSA 2014 | All |  | NR | x
Process Loads | Process Loads System Improvements | Municipal Sewage Treatment | Municipal Sewage Treatment | 2013 EPA Flow rates | Non-Building |  | Retro
Process Loads | Process Loads System Improvements | Municipal Water Supply | Municipal Water Supply | 2013 EPA Flow rates | Non-Building |  | Retro
Process Loads | Process Loads System Controls | Engine Generator Block Heaters | Engine Generator Block Heaters | No Control | All |  | Retro | x
Refrigeration | Refrigeration System Improvements | Grocery Refrigeration Bundle | Grocery Refrigeration Bundle | CBSA 2014 | Grocery |  | Retro |  | x |  | x
Refrigeration | Packaged Refrigeration | Packaged Refrigeration Equipment | Packaged Refrigeration Equipment | CBSA 2014 | Grocery |  | New |  | x | x | x
Refrigeration | Refrigeration System Improvements | Appliances - Freezers | Appliances - Freezers | Fed Std 2014 | All |  | NR | x | x | x | x
Refrigeration | Refrigeration System Improvements | Appliances - Refrigerators | Appliances - Refrigerators | Fed Std 2014 | All |  | NR | x |  |  | x
Refrigeration | Refrigeration System Controls | Water Cooler Controls | Water Cooler Controls | Uncontrolled | Some |  | Retro | x
Water Heating | Water Using Devices | Commercial Clothes Washers | Commercial Clothes Washers | CBSA 2014 | Some |  | New |  | x |  | x
Water Heating | Water Heaters | DHW - Efficient Tanks | DHW - Efficient Tanks | CBSA 2014 | All |  | Retro | x | x | x | x
Water Heating | Water Using Devices | Appliances - Clothes Washers | Appliances - Clothes Washers | CBSA 2014 | Some |  | NR | x | x | x | x
Water Heating | Water Using Devices | DHW - Showerheads | DHW - Showerheads | 2.5 GPM | Some |  | Retro | x | x |  | x
Water Heating | Water Using Devices | Water Heating - GFHX | Water Heating - GFHX | No Heat Recovery | All |  | New | x |  |  | x
Water Heating | Water Using Devices | Demand Control Circulating system DHW | Demand Control Circulating system DHW | CBSA 2014 | Some |  | Retro | x |  |  | x
Water Heating | Water Heaters | Central HPWH MF | Central HPWH MF | CBSA 2014 | Multifamily |  | Retro | x |  |  | x
Whole Bldg/Meter Level | Whole Bldg/Meter Level System Improvements | Integrated Building Design | Integrated Building Design | Code | Some |  | New |  |  |  | x

## Agriculture
End Use | Category Name | Measure Name | Measure Details | Baseline | Region | Vintage | New from 6P? | UES Measure?
Irrigation | Hardware | Nozzle Replacement | Wheel/hand line systems: Replace worn nozzle with new flow controlling type nozzle for impact sprinklers |  | Eastern & Southern ID, Western ID, Western WA and OR, Eastern WA and OR, MT | Existing |  | x
Irrigation | Hardware | Nozzle Replacement | Wheel/hand line systems: Replace worn nozzle with new nozzle |  | Eastern & Southern ID, Western ID, Western WA and OR, Eastern WA and OR, MT | Existing |  | x
Irrigation | Hardware | Sprinkler Replacement | Wheel/hand line systems: Rebuild or replace leaking impact sprinkler with new or rebuilt impact sprinkler |  | Eastern & Southern ID, Western ID, Western WA and OR, Eastern WA and OR, MT | Existing |  | x
Irrigation | Hardware | Gasket Replacement | Wheel/hand line systems: Replace leaking gasket with new gasket |  | Eastern & Southern ID, Western ID, Western WA and OR, Eastern WA and OR, MT | Existing |  | x
Irrigation | Hardware | Drain Replacement | Wheel/hand line systems: Replace leaking drain with new drain |  | Eastern & Southern ID, Western ID, Western WA and OR, Eastern WA and OR, MT | Existing |  | x
Irrigation | Hardware | Line Repairs | Wheel/hand line systems: Cut and pipe press repair of leaking hand-lines, wheel-lines, and portable main-lines |  | Eastern & Southern ID, Western ID, Western WA and OR, Eastern WA and OR, MT | Existing |  | x
Irrigation | Hardware | Hub Replacement | Thunderbird wheel line systems: Replace leaking hub with new hub |  | Eastern & Southern ID, Western ID, Western WA and OR, Eastern WA and OR, MT | Existing |  | x
Irrigation | Hardware | Leveler Rebuild | Wheel line systems: Rebuild or replace leaking or malfunctioning leveler with new or rebuilt leveler. |  | Eastern & Southern ID, Western ID, Western WA and OR, Eastern WA and OR, MT | Existing |  | x
Irrigation | Hardware | Sprinkler Replacement | Center pivot/linear move systems: Install new sprinkler package on an existing system. |  | Eastern & Southern ID, Western ID, Western WA and OR, Eastern WA and OR, MT | Existing |  | x
Irrigation | Hardware | Goose Necks | Center pivot/linear move systems: New gooseneck elbows |  | Eastern & Southern ID, Western ID, Western WA and OR, Eastern WA and OR, MT | Existing |  | x
Irrigation | Hardware | Drop Tube/Hose Extension | Center pivot/linear move systems: New drop tubes (3 feet minimum) |  | Eastern & Southern ID, Western ID, Western WA and OR, Eastern WA and OR, MT | Existing |  | x
Irrigation | Hardware | Gasket Replacement | Center pivot/linear move systems: Replace leaking pivot boot gasket with new pivot boot gasket |  | Eastern & Southern ID, Western ID, Western WA and OR, Eastern WA and OR, MT | Existing |  | x
Irrigation | Hardware | Gasket Replacement | Center pivot/linear move systems: Replace leaking tower gasket with new tower gasket |  | Eastern & Southern ID, Western ID, Western WA and OR, Eastern WA and OR, MT | Existing |  | x
Refrigeration | Dairy System Improvements | Plate Milk Pre-cooler | Install Plate Milk Pre-Cooler at Tie Stall Dairy |  | All | Existing
Motors/Drives | Motors/Drives Controls | Motors/Drives Control Improvements (VFD) | Install VSD - Vacuum Pump at Tie Stall Dairy |  | All | Existing
Refrigeration | Dairy System Improvements | Heat Recovery Improvements | Install Heat Recovery Refrigeration at Tie Stall Dairy |  | All | Existing
Refrigeration | Dairy System Improvements | Plate Milk Pre-cooler | Install Plate Milk Pre-cooler at Free Stall Dairy |  | All | Existing
Motors/Drives | Motors/Drives Controls | Motors/Drives Control Improvements (VFD) | Install VSD - Vacuum Pump at Free Stall Dairy |  | All | Existing
Lighting | Lamps/Ballasts/Fixtures | Lamps/Ballasts/Fixtures | Install Energy Efficient Lighting at Tie Stall Dairy |  | All | Existing
Lighting | Lamps/Ballasts/Fixtures | Lamps/Ballasts/Fixtures | Install Energy Efficient Lighting at Free Stall Dairy |  | All | Existing
Motors/Drives | Motors | Motor Rewind | Motor Rewind |  | All | Existing | x | x
Process Loads | Livestock Tanks | Freeze Resistant Stock Tanks | Freeze Resistant Stock Water Tanks/Fountains |  | All | Existing | x | x
Motors/Drives | Motors/Drives Controls | Motors/Drives Control Improvements (VFD) | Variable Frequency Drive on Spud or Onion Shed Ventilation Fan |  | All | Existing | x | x
HVAC | HVAC System Improvements | Ventilation System Improvements | High Volume, Low Speed Fans |  | All | Existing | x
Motors/Drives | Compressed Air System Improvements | Motors/Drives Installation on Compressed Air System | Compressed Air Improvements |  | All | Existing | x
Water Heating | Water Heaters | Water Heaters | Heat Pump Water Heaters |  | All | Existing | x
Irrigation | Irrigation Scheduling | Irrigation Water Management | Alfalfa |  | Columbia Basin GWMA | Existing
Irrigation | Irrigation Scheduling | Irrigation Water Management | Mint |  | Columbia Basin GWMA | Existing
Irrigation | Irrigation Scheduling | Irrigation Water Management | Onions |  | Columbia Basin GWMA | Existing
Irrigation | Irrigation Scheduling | Irrigation Water Management | Orchard |  | Columbia Basin GWMA | Existing
Irrigation | Irrigation Scheduling | Irrigation Water Management | Late Potatoes |  | Columbia Basin GWMA | Existing
Irrigation | Irrigation Scheduling | Irrigation Water Management | Field Corn |  | Columbia Basin GWMA | Existing
Irrigation | Irrigation Scheduling | Irrigation Water Management | Vineyard |  | Columbia Basin GWMA | Existing
Irrigation | Irrigation Scheduling | Irrigation Water Management | Other |  | Columbia Basin GWMA | Existing
Irrigation | Irrigation Scheduling | Irrigation Water Management | Grain |  | Columbia Basin GWMA | Existing
Irrigation | Irrigation Scheduling | Irrigation Water Management | Early Potatoes |  | Columbia Basin GWMA | Existing
Irrigation | Irrigation Scheduling | Irrigation Water Management | Beans |  | Columbia Basin GWMA | Existing
Irrigation | Irrigation Scheduling | Irrigation Water Management | Sweet Corn |  | Columbia Basin GWMA | Existing
Irrigation | Irrigation Scheduling | Irrigation Water Management | Peas-Dry |  | Columbia Basin GWMA | Existing
Irrigation | Irrigation Scheduling | Irrigation Water Management | 14Grass Seed |  | Columbia Basin GWMA | Existing
Irrigation | Motors/Drives Controls | Motors/Drives Control Improvements (VFD) | Install VSD on Irrigation Pump |  | Eastern & Southern ID, Western ID, Western WA and OR, Eastern WA and OR, MT | Existing
Irrigation | Center Pivot System and Equipment | Center Pivot Conversions | Convert Medium Pressure Center Pivot to Low pressure system |  | Eastern & Southern ID, Western ID, Western WA and OR, Eastern WA and OR, MT | Existing
Irrigation | Center Pivot System and Equipment | Center Pivot Conversions | Convert High Pressure Center Pivot to Low pressure system |  | Eastern & Southern ID, Western ID, Western WA and OR, Eastern WA and OR, MT | Existing
Irrigation | Center Pivot System and Equipment | Center Pivot Conversions | Convert wheel line systems to low pressure systems on alfalfa acreage |  | Eastern & Southern ID, Western ID, Western WA and OR, Eastern WA and OR, MT | Existing
Irrigation | Center Pivot System and Equipment | Center Pivot Conversions | Convert hand line systems to low pressure systems on alfalfa acreage |  | Eastern & Southern ID, Western ID, Western WA and OR, Eastern WA and OR, MT | Existing

## Industrial
End Use | Category Name | Measure Name | Measure Details | Baseline | Segment | Vintage | New from 6P?
Compressed Air | Compressed Air System Controls | Air Compressor Demand Reduction |  | Standard Practice | All | Retrofit
Compressed Air | Compressed Air System Improvements | Air Compressor Equipment1 |  | Standard Practice | All | Retrofit
Compressed Air | Compressed Air System Improvements | Air Compressor Equipment2 |  | Standard Practice | All | Replace
Compressed Air | Compressed Air System Improvements | Air Compressor Optimization |  | Standard Practice | All | Retrofit
Compressed Air | Compressed Air System Improvements | Elec Chip Fab: Reduce Gas Pressure |  | Standard Practice | Hi Tech - Chip Fab | Retrofit
Facility Distribution System | Transformers | Transformers-Retrofit |  | Standard Practice | All | Retrofit
Facility Distribution System | Transformers | Transformers-New |  | Standard Practice | All | Replace
Facility Distribution System | Voltage Management | Efficient power supplies |  | Standard Practice | All | Replace | x
HVAC | HVAC System Controls | Elec Chip Fab: Eliminate Exhaust |  | Standard Practice | Hi Tech - Chip Fab | Retrofit
HVAC | HVAC System Improvements | Elec Chip Fab: Exhaust Injector |  | Standard Practice | Hi Tech - Chip Fab | Retrofit
HVAC | HVAC System Improvements | Elec Chip Fab: Solidstate Chiller |  | Standard Practice | Hi Tech - Chip Fab | Retrofit
HVAC | HVAC System Controls | Clean Room: Change Filter Strategy |  | Standard Practice | All | Retrofit
HVAC | HVAC System Controls | Clean Room: Clean Room HVAC |  | Standard Practice | All | Retrofit
HVAC | HVAC System Controls | Clean Room: Chiller Optimize |  | Standard Practice | All | Retrofit
HVAC | Envelope | Weatherization |  | Standard Practice | All | Retrofit | x
HVAC | Heat Recovery | Heat Recovery |  | Standard Practice | All | Retrofit | x
Lighting | Lamps/Ballasts/Fixtures | HighBay Lighting 1 Shift |  | Standard Practice | All | Replace
Lighting | Lamps/Ballasts/Fixtures | HighBay Lighting 2 Shift |  | Standard Practice | All | Replace
Lighting | Lamps/Ballasts/Fixtures | HighBay Lighting 3 Shift |  | Standard Practice | All | Replace
Lighting | Lamps/Ballasts/Fixtures | Efficient Lighting 1 Shift |  | Standard Practice | All | Replace
Lighting | Lamps/Ballasts/Fixtures | Efficient Lighting 2 Shift |  | Standard Practice | All | Replace
Lighting | Lamps/Ballasts/Fixtures | Efficient Lighting 3 Shift |  | Standard Practice | All | Replace
Lighting | Lighting Controls | Lighting Controls |  | Standard Practice | All | Replace
Motors/Drives | Motors | Motors: Rewind 20-50 HP |  | Standard Practice | All | Replace
Motors/Drives | Motors | Motors: Rewind 51-100 HP |  | Standard Practice | All | Replace
Motors/Drives | Motors | Motors: Rewind 101-200 HP |  | Standard Practice | All | Replace
Motors/Drives | Motors | Motors: Rewind 201-500 HP |  | Standard Practice | All | Replace
Motors/Drives | Motors | Motors: Rewind 501-5000 HP |  | Standard Practice | All | Replace
Motors/Drives | Pumps and Fans | Efficient Centrifugal Fan |  | Standard Practice | All | Retrofit
Motors/Drives | Pumps and Fans | Fan Energy Mangement |  | Standard Practice | All | Retrofit
Motors/Drives | Pumps and Fans | Fan Equipment Upgrade |  | Standard Practice | All | Retrofit
Motors/Drives | Pumps and Fans | Fan System Optimization |  | Standard Practice | All | Retrofit
Motors/Drives | Pumps and Fans | Pump Energy Management |  | Standard Practice | All | Retrofit
Motors/Drives | Pumps and Fans | Pump Equipment Upgrade |  | Standard Practice | All | Retrofit
Motors/Drives | Pumps and Fans | Pump System Optimization |  | Standard Practice | All | Retrofit
Motors/Drives | Motors | Synchronous Belts |  | Standard Practice | All | Retrofit
Motors/Drives | Pumps and Fans | Kraft: Effluent Treatment System |  | Standard Practice | Kraft Pulp | Retrofit
Motors/Drives | Pumps and Fans | Paper: Premium Fan |  | Standard Practice | Paper | Retrofit
Motors/Drives | Motors | Paper: Material Handling |  | Standard Practice | Paper | Replace
Motors/Drives | Motors | Paper: Large Material Handling |  | Standard Practice | Paper | Replace
Motors/Drives | Motors | Paper: Premium Control Large Material |  | Standard Practice | Paper | Replace
Motors/Drives | Motors | Material Handling1 |  | Standard Practice | All | Retrofit
Motors/Drives | Motors | Material Handling2 |  | Standard Practice | All | Replace
Motors/Drives | Motors | Material Handling VFD1 |  | Standard Practice | All | Retrofit
Motors/Drives | Motors | Material Handling VFD2 |  | Standard Practice | All | Replace
Motors/Drives | Motors | Wood: Replace Pneumatic Conveyor |  | Standard Practice | Wood | Replace
Motors/Drives | Motors/Drives Controls | Plant Energy Management |  | Standard Practice | All | Retrofit
Motors/Drives | Motors | Switched reluctance motors/Permanent Magnet Motors |  | Standard Practice | All | Replace | x
Motors/Drives | Pumps and Fans | Circ Pump ECM and drive |  | Standard Practice | All | Replace | x
Process Loads | Process Loads System Improvements | Metal: New Arc Furnace |  | Standard Practice | Metal | Retrofit
Process Loads | Process Loads System Improvements | Mech Pulp: Refiner Replacement |  | Standard Practice | Mechanical Pulp | Retrofit
Process Loads | Process Loads System Improvements | Mech Pulp: Premium Process |  | Standard Practice | Mechanical Pulp | Retrofit
Process Loads | Process Loads System Improvements | Mech Pulp: Refiner Plate Improvement |  | Standard Practice | Mechanical Pulp | Retrofit
Process Loads | Process Loads System Improvements | Kraft: Efficient Agitator |  | Standard Practice | Kraft Pulp | Replace
Process Loads | Process Loads System Improvements | Paper: Efficient Pulp Screen |  | Standard Practice | Paper | Retrofit
Process Loads | Process Loads System Improvements | Panel: Hydraulic Press |  | Standard Practice | Pan | Replace
Process Loads | Process Loads System Improvements | CA Retrofit -- CO2 Scrub |  | Standard Practice | All | Retrofit
Process Loads | Process Loads System Improvements | CA Retrofit -- Membrane |  | Standard Practice | All | Retrofit
Process Loads | Process Loads System Improvements | Energy Project Management |  | Standard Practice | All | Retrofit
Process Loads | Process Loads System Controls | Microwave Sterilization & Pasteurization Technologies |  | Standard Practice | All | Replace | x
Refrigeration | Refrigeration System Improvements | Food: Cooling and Storage |  | Standard Practice | Frozen Food | Retrofit
Refrigeration | HVAC System Controls | Food: Refrig Storage Tuneup |  | Standard Practice | Frozen Food | Retrofit
Refrigeration | Refrigeration System Improvements | Cold Storage Retrofit |  | Standard Practice | Cold Storage | Retrofit
Refrigeration | Refrigeration System Controls | Cold Storage Tuneup |  | Standard Practice | Cold Storage | Retrofit
Refrigeration | Refrigeration System Controls | Fruit Storage Refer Retrofit |  | Standard Practice | Fruit Storage | Retrofit
Refrigeration | Refrigeration System Improvements | Fruit Storage Tuneup |  | Standard Practice | Fruit Storage | Retrofit
Refrigeration | Refrigeration System Controls | Groc Dist Retrofit |  | Standard Practice | Other Food | Retrofit
Refrigeration | Refrigeration System Controls | Groc Dist Tuneup |  | Standard Practice | Other Food | Retrofit
Refrigeration | Refrigeration System Controls | Advanced Refrigeration Controls |  | Standard Practice | Other Food | Retrofit | x
Whole Bldg/Meter Level | Whole Bldg/Meter Level System Improvements | Integrated Plant Energy Management |  | Standard Practice | All | Retrofit

## Distribution System
End Use | Category Name | Measure Name | Measure Details | Baseline | Segment | Vintage | LO/Retro | New from 6P?
Utility Distribution Sytem | Voltage Management | LDC Voltage Control | 1 - Reduce system voltage w/ LDC voltage control method | Standard Practice |  |  | Retro
Utility Distribution Sytem | Power Factor Improvements | Minor System Improvements | 2 - Light system improvements (var mgmt, phase load balancing, and feeder load balancing) | Standard Practice |  |  | Retro
Utility Distribution Sytem | Conductors | Major System Improvements | 3 - Major system improvements (voltage regulators on 1 of 4 substations, and select reconductoring on 1 of every 2 substations) | Standard Practice |  |  | Retro
Utility Distribution Sytem | Voltage Management | EOL Voltage Control | 4 - EOL voltage control method | Standard Practice |  |  | Retro